## Sheet1
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
TABLE OF CONTENTS
Required
PART 1: PROFILE OF REPORTING BODY
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
PART 3: EMISSIONS, TARGETS AND PROJECTS
PART 4: ADAPTATION
PART 5: PROCUREMENT
PART 6: VALIDATION AND DECLARATION
Recommended Reporting: Reporting on Wider Influence
RECOMMENDED – WIDER INFLUENCE
OTHER NOTABLE REPORTABLE ACTIVITY

## Sheet2
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
PART 1: PROFILE OF REPORTING BODY
1(a) Name of reporting body
Edinburgh College
1(b) Type of body
Educational Institutions
1(c) Highest number of full-time equivalent staff in the body during the report year
1053
1(d) Metrics used by the body
Specify the metrics that the body uses to assess its performance in relation to climate change and sustainability.
Metric |  |  | Unit | Value | Comments
Floor area |  |  | m2 | 84008 | 84008m2 including Granton, Midlothian, Milton Road, Sighthill, Forthside and Marine Drive (excluding REACT and outreach sites) - we do not currently use this as a metric
1(e) Overall budget of the body
Specify approximate £/annum for the report year.
Budget | Budget Comments
66553000
1(f) Report year
Specify the report year.
Report Year |  | Report Year Comments
Academic
1(g) Context
Provide a summary of the body’s nature and functions that are relevant to climate change reporting.
"Edinburgh College is an educational establishment which delivers a wide range of vocational and academic courses across four main campuses in Edinburgh and Lothians as well as a variety of outreach centres. The College has over 1000 staff and around 20,000 students. The College produces around 5000 t/CO2 from its direct activities (>95% through energy use in buildings). The College also has a wider impact (Scope 3) associated with our travel, waste and procurement activities. As an organisation, the College is aware of its responsibilities in delivering a sustainable development agenda and acting to tackle climate change. In order to achieve this, the College has created a Sustainability Team and Sustainability Steering Group to work on reducing direct emissions from our operations, as well as working in partnership with our staff to incorporate sustainability within the curriculum. The College realises there is still work do to and is creating a specific Sustainability Strategy for 2019-23."

## Sheet3
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
2(a) How is climate change governed in the body?
Provide a summary of the roles performed by the body’s governance bodies and members in relation to climate change. If any of the body’s activities in relation to climate change sit outside its own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify these activities and the governance arrangements.
"The College's Sustainability Steering Group provides governance and leadership for all matters relating to Climate Change and Sustainability with the organisation. It is chaired by the Chief Operating Officer and meets quarterly. Actions (policy, strategy and operations) are escalated as appropriate to the Senior Management Group and to the Board if deemed applicable. Following major improvements as part of the Scottish Funding Council-funded College Energy Efficiency Pathfinder programme we have been continuously monitoring the energy savings resulting from the Energy Conservation Measures (ECMs) installed at the four campuses and are very pleased to report that the analysis shows that the Guaranteed Energy Cost Performance (GECP) target has been achieved. .
2(b) How is climate change action managed and embedded by the body?
Provide a summary of how decision-making in relation to climate change action by the body is managed and how responsibility is allocated to the body’s senior staff, departmental heads etc. If any such decision-making sits outside the body’s own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify how this is managed and how responsibility is allocated outside the body (JPEG, PNG, PDF, DOC)
As for 2A
2(c) Does the body have specific climate change mitigation and adaptation objectives in its corporate plan or similar document?
Provide a brief summary of objectives if they exist.
Objective |  |  | Doc Name |  | Doc Link
New College Strategy 2017-22 and Edinburgh College Blueprint 2017-2022 |  |  | New College Strategy 2017-22 and Edinburgh College Blueprint 2017-2022 |  | http://www.edinburghcollege.ac.uk/Welcome/Governance/College-Publications/Strategic-Plan
2(d) Does the body have a climate change plan or strategy?
If yes, provide the name of any such document and details of where a copy of the document may be obtained or accessed.
As for 2A - the College will look to refresh its approach to Climate Change and Sustainability
2(e) Does the body have any plans or strategies covering the following areas that include climate change?
Provide the name of any such document and the timeframe covered.
Topic area | Name of document | Link |  | Time period covered |  | Comments
Adaptation | [5 empty] | The College has undertaken initial investigations into aspects of Climate Change adaptation and has joined the Edinburgh Adapts working group. Several of our existing Business Continuity Plans incorporate elements of Climate Change Adaptation.
Business travel | [5 empty] | The College has an all-electric pool car fleet as well as some other electric service vehicles .
Staff Travel | [5 empty] | As for Business Travel. Progress in supporting sustainable transport has been significant and is ongoing. Active Travel has been the main focus and the College has undertaken a range of infrastructure and support initiatives to support (cycle parking, events, information). Much of this work has been supported by Cycling Scotland.
Energy efficiency | Carbon Management Plan | http://www.edinburghcollege.ac.uk/Welcome/Governance/Sustainability |  |  |  | The current Carbon Management Plan (2014-2020) has met its intial targets have been superceded. The significant works undertaken in August 2017 through the College Energy Efficiency Pathfinder have allowed the college to investigate new projects for the next plan such as heat recovery from waste water, SHARK, technology and our energy officer has visited Borders College who use this system to evaluate its usefulness for the college at our Granton Campus.
Fleet transport | [5 empty] | As for Business Travel
Information and communication technology | [5 empty] | Several ICT projects have been initiated including software and hardware changes to reduce carbon (switch off, infrastructure, desktop upgrades).
Renewable energy | [5 empty] | Any renewable energy projects would be incorporated into the Carbon Management Plan. Photovoltaics are installed at our Granton Campus which directly input and offset college electricty consumption.
Sustainable/renewable heat
Waste management | Waste Management and Recycling Policy | http://www.edinburghcollege.ac.uk/Welcome/Governance/Sustainability |  | Ongoing |  | Waste management has improved significantly with a co-ordinated approach to front-of-house infrastructure, signage and awareness raising. However this is an ongoing project to educate and encourage our annual intake of students.
Water and sewerage | [5 empty] | Various aspects of water management have improved with audits, monitoring and improved housekeeping undertaken.
Land Use
Other (state topic area covered in comments)
2(f) What are the body’s top 5 priorities for climate change governance, management and strategy for the year ahead?
Provide a brief summary of the body’s areas and activities of focus for the year ahead.
"1. Develop new holistic strategy for climate change 2. Instigate Sustainable Procurement group 3. Develop Travel Plan 4. Develop Waste Management Plan 5. Refresh Carbon Management Plan"
2(g) Has the body used the Climate Change Assessment Tool(a) or equivalent tool to self-assess its capability / performance?
If yes, please provide details of the key findings and resultant action taken.
No
2(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to governance, management and strategy.
The College has developed a Sustainability (education) strategy with the aim of integrating sustainability into the Curriculum. This includes specific reporting requirements on faculties regarding sustainability in the curriculum.

## Sheet4
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
PART 3: EMISSIONS, TARGETS AND PROJECTS
3a Emissions from start of the year which the body uses as a baseline (for its carbon footprint) to the end of the report year
Complete the following table using the greenhouse gas emissions total for the body calculated on the same basis as for its annual carbon footprint /management reporting or, where applicable, its sustainability reporting. Include greenhouse gas emissions from the body's estate and operations (a) (measured and reported in accordance with Scopes 1 & 2 and, to the extent applicable, selected Scope 3 of the Greenhouse Gas Protocol (b)). If data is not available for any year from the start of the year which is used as a baseline to the end of the report year, provide an explanation in the comments column. (a) No information is required on the effect of the body on emissions which are not from its estate and operations.
Reference Year |  |  | Year | Scope1 | [7 empty] | Scope2 |  |  |  | Scope3 | [5 empty] | Total | [8 empty] | Units | [5 empty] | Comments
Baseline carbon footprint |  |  | 2013/14 | 2412 | [7 empty] | 5005 |  |  |  | 164 | [5 empty] | 7581 | [8 empty] | tCO2e | [5 empty] | Academic Year (college) - 1st August to 31st July. Revised from prev submission due to recalculating 14-15 and 15-16 years to take account of gas read error at one site
Year 1 carbon footprint |  |  | 2014/15 | 2536 | [7 empty] | 4251 |  |  |  | 177 | [5 empty] | 6964 | [8 empty] | tCO2e | [5 empty] | Academic Year (college) - 1st August to 31st July. Revised from prev submission due to recalculating 14-15 and 15-16 years to take account of gas read error at one site
Year 2 carbon footprint |  |  | 2015/16 | 2313 | [7 empty] | 3594 |  |  |  | 210 | [5 empty] | 6117 | [8 empty] | tCO2e | [5 empty] | Academic Year (college) - 1st August to 31st July.
Year 3 carbon footprint |  |  | 2016/17 | 2300 | [7 empty] | 2990 |  |  |  | 191 | [5 empty] | 5481 | [8 empty] | tCO2e | [5 empty] | Academic Year (college) - 1st August to 31st July.
Year 4 carbon footprint |  |  | 2017/18 | 2282 | [7 empty] | 1865.67 |  |  |  | 362.5 | [5 empty] | 4510.17 | [8 empty] | tCO2e | [5 empty] | Academic Year (college) - 1st August to 31st July.
3b Breakdown of emission sources
Complete the following table with the breakdown of emission sources from the body's most recent carbon footprint (greenhouse gas inventory); this should correspond to the last entry in the table in 3(a) above. Use the 'Comments' column to explain what is included within each category of emission source entered in the first column. If, for any such category of emission source, it is not possible to provide a simple emission factor(a) leave the field for the emission factor blank and provide the total emissions for that category of emission source in the 'Emissions' column.
Total |  | Comments – reason for difference between Q3a & 3b. | [10 empty] | Emission source | [10 empty] | Scope |  |  |  |  | Consumption data | [6 empty] | Units |  |  |  |  | Emission factor |  |  | Units |  |  |  | Emissions (tCO2e) |  | Comments
4501.7 | [12 empty] | Grid Electricity (generation) | [10 empty] | Scope 2 |  |  |  |  | 6590834 | [6 empty] | kWh |  |  |  |  | 0.28307 |  |  | kg CO2e/kWh |  |  |  | 1865.67 |  | This figure only includes a small reduction from the CEEP programme (which will be reported as 2017-18). The CO2 reduction (not kWh) is in part related to the drop in the emissions factor of grid electricity (greening the grid) so is an external factor not attributable to our actions.
[13 empty] | Natural Gas | [10 empty] | Scope 1 |  |  |  |  | 12314485.48 | [6 empty] | kWh |  |  |  |  | 0.18396 |  |  | kg CO2e/kWh |  |  |  | 2265.37
[13 empty] | Grid Electricity (transmission &amp; distribution losses) | [10 empty] | Scope 3 |  |  |  |  | 6590834 | [6 empty] | kWh |  |  |  |  | 0.02413 |  |  | kg CO2e/kWh |  |  |  | 159.04
[13 empty] | Water - Supply | [10 empty] | Scope 3 |  |  |  |  | 35464 | [6 empty] | m3 |  |  |  |  | 0.344 |  |  | kg CO2e/m3 |  |  |  | 12.2
[13 empty] | Water - Treatment | [10 empty] | Scope 3 |  |  |  |  | 33691 | [6 empty] | m3 |  |  |  |  | 0.708 |  |  | kg CO2e/m3 |  |  |  | 23.85
[13 empty] | Diesel (average biofuel blend) | [10 empty] | Scope 1 |  |  |  |  | 6533 | [6 empty] | litres |  |  |  |  | 2.6269 |  |  | kg CO2e/litre |  |  |  | 17.16
[13 empty] | Organic Food &amp; Drink AD | [10 empty] | Scope 3 |  |  |  |  | 21 | [6 empty] | tonnes |  |  |  |  | 21.3842 |  |  | kg CO2e/tonne |  |  |  | 0.45
[13 empty] | Refuse Municipal /Commercial /Industrial to Combustion | [10 empty] | Scope 3 |  |  |  |  | 414 | [6 empty] | tonnes |  |  |  |  | 21.3842 |  |  | kg CO2e/tonne |  |  |  | 8.85
[13 empty] | Glass Recycling | [10 empty] | Scope 3 |  |  |  |  | 9.5 | [6 empty] | tonnes |  |  |  |  | 21.3842 |  |  | kg CO2e/tonne |  |  |  | 0.2
[13 empty] | Mixed recycling | [10 empty] | Scope 3 |  |  |  |  | 251.4 | [6 empty] | tonnes |  |  |  |  | 21.3842 |  |  | kg CO2e/tonne |  |  |  | 5.38
[13 empty] | Domestic flight (average passenger) | [10 empty] | Scope 3 |  |  |  |  | 4272 | [6 empty] | passenger km |  |  |  |  | 0.29832 |  |  | kg CO2e/passenger km |  |  |  | 1.27
[13 empty] | Short-haul flights (average passenger) | [10 empty] | Scope 3 |  |  |  |  | 20086 | [6 empty] | passenger km |  |  |  |  | 0.16236 |  |  | kg CO2e/passenger km |  |  |  | 3.26
[13 empty] | Long-haul flights (average passenger) | [10 empty] | Scope 3 |  |  |  |  | 513399 | [6 empty] | passenger km |  |  |  |  | 0.21256 |  |  | kg CO2e/passenger km |  |  |  | 109.13
[13 empty] | Average Car - Unknown Fuel | [10 empty] | Scope 3 |  |  |  |  | 165362 | [6 empty] | km |  |  |  |  | 0.18064 |  |  | kg CO2e/km |  |  |  | 29.87
3c Generation, consumption and export of renewable energy
Provide a summary of the body's annual renewable generation (if any), and whether it is used or exported by the body.
|  |  | Renewable Electricity | [10 empty] | Renewable Heat
Technology |  |  | Total consumed by the organisation (kWh) |  | Total exported (kWh) | [8 empty] | Total consumed by the organisation (kWh) |  |  |  | Total exported (kWh) | [6 empty] | Comments
Solar PV |  |  | 0 |  | 22072
Other
3d Targets
List all of the body's targets of relevance to its climate change duties. Where applicable, overall carbon targets and any separate land use, energy efficiency, waste, water, information and communication technology, transport, travel and heat targets should be included.
Name of Target |  |  | Type of Target | Target | [7 empty] | Units | [7 empty] | Boundary/scope of Target | [10 empty] | Progress against target | [5 empty] | Year used as baseline |  |  | Baseline figure |  | Units of baseline |  |  | Target completion year |  | Comments
Carbon Management Plan 2020 targets met - new targets will be agreed by Sustainability Steering Group |  |  | absolute | [8 empty] | tCO2e reduction | [18 empty] | 100 | [5 empty] | 2013/14 |  |  | 7581 |  | tCO2e |  |  | 2019/20 |  | Target is 18% from baseline (2013-14) to 2020 - achieved 19% in 2015-16 and met (100%) for 17/18
3e Estimated total annual carbon savings from all projects implemented by the body in the report year
Total | [8 empty] | Emissions Source | [13 empty] | Total estimated annual carbon savings (tCO2e) | [9 empty] | Comments
348.9 | [8 empty] | Electricity | [13 empty] | 348.9 | [9 empty] | LED, CEEP… Different projects have been applied in the reporting year. The figure above has been obtained from the difference between the electricity consumptions and then multiplied to the carbon factor provided by the Climate Change Report Tool. 0.28307 KgCO2e/KWh
[9 empty] | Natural gas | [13 empty] | 0 | [9 empty] | Zero figure entered as most projects in report year related to improvements in housekeeping and as such cannot be fully attributed to one specific project or action
Other heating fuels
[9 empty] | Waste | [13 empty] | 0 | [9 empty] | Data is not of sufficient quality to allow accurate calculations
[9 empty] | Water and sewerage | [13 empty] | 0 | [9 empty] | Data is not of sufficient quality to allow accurate calculations
[9 empty] | Business Travel | [13 empty] | 0 | [9 empty] | Data is not of sufficient quality to allow accurate calculations
[9 empty] | Fleet transport | [13 empty] | 0 | [9 empty] | Data is not of sufficient quality to allow accurate calculations
Other (specify in comments)
3f Detail the top 10 carbon reduction projects to be carried out by the body in the report year
Provide details of the 10 projects which are estimated to achieve the highest carbon savings during report year.
Project name |  |  | Funding source |  |  | First full year of CO2e savings |  | Are these savings figures estimated or actual? | [6 empty] | Capital cost (£) |  |  |  | Operational cost (£/annum) | [7 empty] | Project lifetime (years) |  |  | Primary fuel/emission source saved | [7 empty] | Estimated carbon savings per year (tCO2e/annum) |  |  |  |  | Estimated costs savings (£/annum) |  |  | Behaviour Change |  |  | Comments
Improved housekeeping - energy |  |  | NA |  |  | 2017/18 |  | Estimated | [6 empty] | 0 | [14 empty] | Natural Gas | [15 empty] | NA |  |  | As a result of increased monitoring (of half hourly data) and escalation to Estates staff the College has been able to operate switch off and closedown proceedures for may aspects of Building Management. However, there is no independent method for assessing the impact - so we have avoided 'plucking a figure from the air'. However, we are confident that the actions have had an important impact.
Waste management - general |  |  | Internal |  |  | 2017/18 |  | Estimated | [6 empty] | 5000 | [14 empty] | WEEE (Mixed) Recycling | [15 empty] | yes - but unquantified |  |  | Due to poor data (proxy) it is unlikely that the impact of these actions will be recorded. However, they remain an important part of the work we do to be more sustainable, and encourage our students to do so.
Electric vehicles |  |  | Internal, SESTrans |  |  | 2017/18 |  | Estimated | [21 empty] | Diesel (average biofuel blend) | [15 empty] | Unknown |  |  | Since the College's baseline year we have run an all-electric pool car fleet - we have added to this (minibus, van) in 2017-18. Important to bear in mind that savings in Diesel (scope 1) will be to some extent countered by increased to Grid electricity (scope 2) - albeit with e-Vehicles offering a significant environmental benefit. The electric vehicles form part of our curricular training.
Travel Active |  |  | Internal, Cycling Scotland |  |  | 2017/18 |  | Estimated | [6 empty] | 25000 |  |  |  | 0 | [10 empty] | Diesel (average biofuel blend) | [15 empty] | yes - but unquantified |  |  | Over the 2017-18 period the ECSA has received funding for two active travel coordiators. These memebers of staff will focus on studying travel for students
Community Gardening |  |  | internal, external (various) |  |  | 2017/18 |  | Estimated | [6 empty] | 0 |  |  |  | 30000 | [26 empty] | yes - but unquantified |  |  | The College's award winning Community Gardens do not provide clear carbon reduction impacts. They are all about empowerment, increasing self confidence…in a garden setting. Food (production, consumption, preparation) are important aspects but the wider context of behaviours (travel, waste, supply chain, independent living and more) in a sustainable context are incorporated.
VSD Instalation/Optimisation |  |  | CEEP, Scottish Funding |  |  | 2017/18 |  | Estimated | [6 empty] | 46903 |  |  |  | 0 | [10 empty] | Grid Electricity | [7 empty] | 70 | [7 empty] | Unknown |  |  | costs unknown and lifetime ongoing
LED Lighting and Controls |  |  | CEEP, Scottish Funding |  |  | 2017/18 |  | Estimated | [6 empty] | 81621 |  |  |  | 0 | [10 empty] | Grid Electricity | [7 empty] | 365 | [7 empty] | Unknown
Hot Water Heating/Time Controls |  |  | CEEP, Scottish Funding |  |  | 2017/18 |  | Estimated | [6 empty] | 2241 |  |  |  | 0 | [10 empty] | Grid Electricity | [7 empty] | 3 | [7 empty] | Unknown
3g Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the report year
If the emissions increased or decreased due to any such factor in the report year, provide an estimate of the amount and direction.
Total | [9 empty] | Emissions source | [10 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
0 | [9 empty] | Estate changes | [10 empty] | 0 | [17 empty] | No major changes in estate
[10 empty] | Service provision | [10 empty] | 0
[10 empty] | Staff numbers | [10 empty] | 0 | [17 empty] | Slight reduction in staff numbers, but increase in student numbers. Hard to attribute
Other (specify in comments)
3h Anticipated annual carbon savings from all projects implemented by the body in the year ahead
Total | [10 empty] | Source | [14 empty] | Saving | [7 empty] | Comments
697 | [10 empty] | Electricity | [14 empty] | 1063 | [7 empty] | These savings are approximate and most arise from the College Energy Efficiency Pathfinder programme (SFC-funded). 2017-18 emissions factor used for grid electricity (transmission not included)
[11 empty] | Natural gas | [14 empty] | -366 | [7 empty] | As a result of Combined Heat and Power Plant gas consumption is predicted to increase by 366 t/CO2
Other heating fuels
Waste
Water and sewerage
Business Travel
Fleet transport
Other (specify in comments)
3i Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the year ahead
If the emissions are likely to increase or decrease due to any such factor in the year ahead, provide an estimate of the amount and direction.
Total | [6 empty] | Emissions source | [9 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
-200 | [6 empty] | Estate changes | [9 empty] | 200 | [10 empty] | Decrease | [6 empty] | IT and Energy Officer Projects, Energy Policy, Heating Policy
[7 empty] | Service provision | [9 empty] | 0 | [10 empty] | Decrease | [6 empty] | Student number Officer increased significantly on previous year which may impact on carbon footprint
[7 empty] | Staff numbers | [9 empty] | 0 | [10 empty] | Decrease | [6 empty] | Staff numbers may reduce - impact unknown
Other (specify in comments)
3j Total carbon reduction project savings since the start of the year which the body uses as a baseline for its carbon footprint
If the body has data available, estimate the total emissions savings made from projects since the start of that year ("the baseline year").
Total | Comments
428 | Figure above is taken from Voltage Optimisation project which is independently verified as a saving. As mentioned elsewhere - many aspects of Carbon Management are difficult to attribute to specific projects and we have chosen NOT to include actions we have taken as projects within this figure. We have high confidence that our performance (-28% from 2013/14 to 2017/18) includes a significant component of our actions, as well as external factors. Our reporting is therefore conservative.
3k Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to its emissions, targets and projects.

## Sheet5
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
PART 4: ADAPTATION
4(a) Has the body assessed current and future climate-related risks?
If yes, provide a reference or link to any such risk assessment(s).
No - initial scoping work has been undertaken.
4(b) What arrangements does the body have in place to manage climate-related risks?
Provide details of any climate change adaptation strategies, action plans and risk management procedures, and any climate change adaptation policies which apply across the body.
Business Continuity plans exist but do not explicitly deal with climate change adaptation - though cover many aspects such as loss of power etc.
4(c) What action has the body taken to adapt to climate change?
Include details of work to increase awareness of the need to adapt to climate change and build the capacity of staff and stakeholders to assess risk and implement action.
Basic research into vulnerabilities to climate change with a view to informing a future climate change adaptation plan.
4(d) Where applicable, what progress has the body made in delivering the policies and proposals referenced N1, N2, N3, B1, B2, B3, S1, S2 and S3 in the Scottish Climate Change Adaptation Programme(a) ("the Programme")?
If the body is listed in the Programme as a body responsible for the delivery of one or more policies and proposals under the objectives N1, N2, N3, B1,B2, B3, S1, S2 and S3, provide details of the progress made by the body in delivering each policy or proposal in the report year. If it is not responsible for delivering any policy or proposal under a particular objective enter “N/A” in the ‘Delivery progress made’ column for that objective. (a) This refers to the programme for adaptation to climate change laid before the Scottish Parliament under section 53(2) of the Climate Change (Scotland) Act 2009 (asp 12) which currently has effect. The most recent one is entitled “Climate Ready Scotland: Scottish Climate Change Adaptation Programme” dated May 2014.
Objective | Objective reference | Theme | Policy / Proposal reference | Delivery progress made | Comments
Understand the effects of climate change and their impacts on the natural environment. | N1 | Natural Environment
Support a healthy and diverse natural environment with capacity to adapt. | N2 | Natural Environment
Sustain and enhance the benefits, goods and services that the natural environment provides. | N3 | Natural Environment
Understand the effects of climate change and their impacts on buildings and infrastructure networks. | B1 | Buildings and infrastructure networks
Provide the knowledge, skills and tools to manage climate change impacts on buildings and infrastructure. | B2 | Buildings and infrastructure networks
Increase the resilience of buildings and infrastructure networks to sustain and enhance the benefits and services provided. | B3 | Buildings and infrastructure networks
Understand the effects of climate change and their impacts on people, homes and communities. | S1 | Society
Increase the awareness of the impacts of climate change to enable people to adapt to future extreme weather events. | S2 | Society
Support our health services and emergency responders to enable them to respond effectively to the increased pressures associated with a changing climate. | S3 | Society
4(e) What arrangements does the body have in place to review current and future climate risks?
Provide details of arrangements to review current and future climate risks, for example, what timescales are in place to review the climate change risk assessments referred to in Question 4(a) and adaptation strategies, action plans, procedures and policies in Question 4(b).
4(f) What arrangements does the body have in place to monitor and evaluate the impact of the adaptation actions?
Please provide details of monitoring and evaluation criteria and adaptation indicators used to assess the effectiveness of actions detailed under Question 4(c) and Question 4(d).
4(g) What are the body’s top 5 priorities for the year ahead in relation to climate change adaptation?
Provide a summary of the areas and activities of focus for the year ahead.
4(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to adaptation.

## Sheet6
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
PART 5: PROCUREMENT
5(a) How have procurement policies contributed to compliance with climate change duties?
Provide information relating to how the procurement policies of the body have contributed to its compliance with climate changes duties.
"75% of Edinburgh College's Procurement team are shared service from Advanced Procurement for Universities and Colleges (APUC) who are fully aligned with APUC's sustainability policy which assesses the supply chain credentials of suppliers with regard to sustainability. Link http://www.apuc-scot.ac.uk/#!/suspol.php Every Procurement led tender is issued with APUC's Supply Chain Code of Conduct, which requires suppliers to confirm their alignment with the Environmental (amongst other) requirements set out here: http://apuc-scot.ac.uk/#!/Suscode Our Procurement Policy also states that members of staff involved in procurement will be required to take into account the impact of waste and waste disposal prior to making a purchasing decision. "
5(b) How has procurement activity contributed to compliance with climate change duties?
Provide information relating to how procurement activity by the body has contributed to its compliance with climate changes duties.
"Every requirement over £50k is subject to the Sustainable Procurement Duty. As part of the Strategy documents for these requirements, a Sustainability Prioritisation test is carried out to identify the areas within scope for Sustainable consideration. The areas identified form part of the technical evaluation of suppliers. Every Procurement led tender is issued with APUC's Supply Chain Code of Conduct, which requires suppliers to confirm their alignment with the Environmental (amongst other) requirements set out here."
5(c) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to procurement.
A sustainable Procurement Working Group has been established (Nov 2017) that will look into this issue.

## Sheet7
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
PART 6: VALIDATION AND DECLARATION
6(a) Internal validation process
Briefly describe the body’s internal validation process, if any, of the data or information contained within this report.
Data is collated and validated by Energy Officer - any ommisions, errors or uncertainties are recorded in the above report and supporting documentation. A copy of the information is sent to senior management for scrutiny and comment.
6(b) Peer validation process
Briefly describe the body’s peer validation process, if any, of the data or information contained within this report.
ISS / FM undertake recording and bill validation
6(c) External validation process
Briefly describe the body’s external validation process, if any, of the data or information contained within this report.
Jorge Colomer (Energy Officer) took part in an SNN/EAUC-Scotland organised peer review which included a half-day knowledge-share workshop with fellow institutions through the Smaller Institutions Sustainablity Meeting
6(d) No validation process
If any information provided in this report has not been validated, identify the information in question and explain why it has not been validated.
"All information has been validated internally. Quality of data varies according to source and as such confidence in reporting varies. For example, we have high confidence in most of our Energy (electricity, gas and diesel) consumption figures (scopes 1 & 2) which make up the bulk (>95%) of our footprint. We have lower confidence in information supplied by 3rd parties, in particular from our waste contractor - who only supply proxy weight data and unclear information on end-destination (which in turn informs the carbon emissions factor used)."
6e - Declaration
I confirm that the information in this report is accurate and provides a fair representation of the body’s performance in relation to climate change.
Name | Role in the body | Date
Audrey Cumberford | Principal and Chief Executive | 2018-11-29

## Sheet8
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
RECOMMENDED – WIDER INFLUENCE
Q1 Historic Emissions (Local Authorities only)
Please indicate emission amounts and unit of measurement (e.g. tCO2e) and years. Please provide information on the following components using data from the links provided below. Please use (1) as the default unless targets and actions relate to (2). (1) UK local and regional CO2 emissions: subset dataset (emissions within the scope of influence of local authorities): (2) UK local and regional CO2 emissions: full dataset:
Select the default target dataset
Table 1a - Subset
Sector |  |  |  | 2006 |  |  | 2007 |  |  | 2008 |  |  | 2009 |  | 2010 |  |  |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  | 2014 |  |  | 2015 |  |  |  | 2016 |  |  | Units |  |  |  |  | Comments
Table 1b - Full
Sector |  |  |  |  | 2006 |  |  | 2007 |  |  | 2008 |  |  | 2009 |  | 2010 |  |  |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  |  | 2014 |  | 2015 |  |  |  | 2016 |  |  | Units |  |  |  | Comments
Q2a – Targets
Please detail your wider influence targets
Sector | Description | [17 empty] | Type of Target (units) | [10 empty] | Baseline value |  |  |  |  | Start year | [5 empty] | Target saving |  |  |  | Target / End Year | Saving in latest year measured |  |  | Latest Year Measured |  | Comments
Q2b) Does the Organisation have an overall mission statement, strategies, plans or policies outlining ambition to influence emissions beyond your corporate boundaries? If so, please detail this in the box below.
The College has developed a Sustainability (Education) Strategy which will have a wide influence on the activities within our curriculum and via our students on the wider community. We are not able to measure these impacts at present.
Q3) Policies and Actions to Reduce Emissions
Sector |  |  | Start year for policy / action imple - mentation |  |  | Year that the policy / action will be fully imple - mented |  |  | Annual CO2 saving once fully imple - mented (tCO2) |  |  | Latest Year measured |  |  |  |  | Saving in latest year measured (tCO2) |  |  |  |  | Status | [5 empty] | Metric / indicators for monitoring progress | [9 empty] | Delivery Role |  |  |  | During project / policy design and implementation, has ISM or an equivalent behaviour change tool been used? |  |  |  |  | Please give further details of this behaviour change activity |  |  | Value of Investment (£) |  |  | Ongoing Costs (£/ year) | Primary Funding Source for Implementation of Policy / Action |  | Comments
Please provide any detail on data sources or limitations relating to the information provided in Table 3
Q4) Partnership Working, Communication and Capacity Building. Please detail your Climate Change Partnership, Communication or Capacity Building Initiatives below.
Key Action Type |  | Description | [15 empty] | Action | [6 empty] | Organisation's project role | [8 empty] | Lead Organisation (if not reporting organisation) | [8 empty] | Private Partners |  |  |  |  | Public Partners |  |  |  | 3rd Sector Partners |  |  | Outputs |  | Comments
Partnership Working |  | Environmental Association of Universities and Colleges | [15 empty] | Partnership working of climate change or sustainability | [6 empty] | Participant | [8 empty] | EAUC | [8 empty] | Various |  |  |  |  | Most FE and HE institutions in UK |  |  |  | Various |  |  | Workshops, events, consultations, awards
Partnership Working |  | Resource Efficient Scotland | [15 empty] | Skills/Capacity Building | [6 empty] | Participant | [8 empty] | NA | [8 empty] | NA |  |  |  |  | Other Colleges and Universities in Scotland |  |  |  | NA |  |  | Training, audits
Partnership Working |  | Cycling Scotland | [15 empty] | Skills/Capacity Building | [6 empty] | Participant

## Sheet9
Public Sector Climate Change Duties 2018 Summary Report: Edinburgh College
OTHER NOTABLE REPORTABLE ACTIVITY
Q5) Please detail key actions relating to Food and Drink, Biodiversity, Water, Procurement and Resource Use in the table below.
| Key Action Type | Key Action Description | Organisation's Project Role | Impacts | Comments
| Biodiversity | Community Gardens. The College employs a full-time Community Garden Co-ordinator and has growing and biodiversity activities on all campuses. Aside from working with students in a curricular setting, there are also numerous community partnerships that benefit from the gardens | Lead | Long-term benefits - carbon reduction, self-esteem, teamwork, employability, food growing | The Community Gardens were awarded the UK and International Green Gown for Student Engagement in 2015
| Other | Safe Bicycle Storages. The College offers safe storage for the bike of student and staff who come to the college cycling. | Lead | Promote cycling
Q6) Please use the text box below to detail further climate change related activity that is not noted elsewhere within this reporting template