## Sheet1
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
TABLE OF CONTENTS
Required
PART 1: PROFILE OF REPORTING BODY
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
PART 3: EMISSIONS, TARGETS AND PROJECTS
PART 4: ADAPTATION
PART 5: PROCUREMENT
PART 6: VALIDATION AND DECLARATION
Recommended Reporting: Reporting on Wider Influence
RECOMMENDED – WIDER INFLUENCE
OTHER NOTABLE REPORTABLE ACTIVITY

## Sheet2
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
PART 1: PROFILE OF REPORTING BODY
1(a) Name of reporting body
Robert Gordon University
1(b) Type of body
Educational Institutions
1(c) Highest number of full-time equivalent staff in the body during the report year
1207.25
1(d) Metrics used by the body
Specify the metrics that the body uses to assess its performance in relation to climate change and sustainability.
Metric |  |  | Unit | Value | Comments
Floor area |  |  | m2 | 73410 | This consists of 16828m2 residential accommodation and 56582m2 non-residential.
1(e) Overall budget of the body
Specify approximate £/annum for the report year.
Budget | Budget Comments
97926000 | This represents the expenditure of the organisation in the reporting period.
1(f) Report year
Specify the report year.
Report Year |  | Report Year Comments
Academic
1(g) Context
Provide a summary of the body’s nature and functions that are relevant to climate change reporting.
Robert Gordon University provides industry led undergraduate and postgraduate courses leading to highly relevant awards and degrees to 15,000 students from over 132 countries.Our teaching staff have an outstanding reputation for quality and academic research and our track record in graduate employment is amongst the best in the UK. Our range of degree courses include online degrees as well as traditional taught courses in subjects as diverse as art and design, management and engineering.Resonating through our culture is the desire to foster collaborative relationships with local, regional and global communities to develop socially responsible citizens and promote ethical behaviour.Our riverside Garthdee campus is home to our teaching and research facilities. RGU student accommodation is spread throughout the city with our main residences located within the city centre.

## Sheet3
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
2(a) How is climate change governed in the body?
Provide a summary of the roles performed by the body’s governance bodies and members in relation to climate change. If any of the body’s activities in relation to climate change sit outside its own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify these activities and the governance arrangements.
Governance matters are handled through the Board of Governors https://www.rgu.ac.uk/about/governance/board-of-governors.Achieving the university's vision, mission and strategic goals are facilitated through the University Executive https://www.rgu.ac.uk/about/the-executive/executive-groupfunctions/executive-functions.There is a sub group which advise the Executive: the Senior Management Group https://www.rgu.ac.uk/about/governance/committees/senior-management-group.The Principal has overall authority for all day to day functions of the institution. Estates take the lead on climate change matters, however, the University has a Sustainability Action Group that acts to co-ordinate all aspects that effect climate change. This group consists of stakeholders from throughout the University including the student body. On an annual basis an operational report on the Carbon Reduction commitment and Carbon Management Plan is submitted/presented to the Finance and General Purposes Committee(FGPC) by the Director of Estates and Property Services. The FGPC is a committee of the main Board of Governors.
2(b) How is climate change action managed and embedded by the body?
Provide a summary of how decision-making in relation to climate change action by the body is managed and how responsibility is allocated to the body’s senior staff, departmental heads etc. If any such decision-making sits outside the body’s own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify how this is managed and how responsibility is allocated outside the body (JPEG, PNG, PDF, DOC)
Each department is responsible for managing and administering its own response to climate change.The Estates Department administers and manages day to day operational services and functions relating to energy, waste and recycling, transport/fleet and land use. The IT department is responsible for ICT. The Finance department administers business travel arrangements and the Travel Policy: Procurement manages Sustainable Procurement. Managing and coordinating issues relating to behaviour change, adaptation etc. falls under the remit of the Convenor of the University Sustainability Action Group. This group was formed to progress operational environmental and sustainability issues within the University. The group consists of a number of staff from different backgrounds and service areas (i.e. Estates, academia, procurement) who come together to advise the University on sustainable practices in the context of University operations. Some members have sustainability as an element of their role within aservice departments: others have an academic interest.There are no operational roles within the University which are dedicated solely to sustainability.As noted in 2a (above) an annual report on sustainability/carbon management/CRC and energy management is presented to a committee of the Board of Governors (Finance and General Purposes Committee) by the Director of Estates and Property Services (Convenor of the Sustainability Advisory Group).
2(c) Does the body have specific climate change mitigation and adaptation objectives in its corporate plan or similar document?
Provide a brief summary of objectives if they exist.
Objective |  |  | Doc Name |  | Doc Link
Manage and operate the estate in a sustainable manner Develop Renewable Energy initiatives as part of our commitment to an environmental sustainable campus as well as reducing energy costs Develop and manage appropriate environmental programs to minimise waste and maximise re-use and recycling |  |  | Estates Strategy |  | www.rgu.ac.uk/file/estates-enabling-strategy-pdf-60kb
To reduce the University's Carbon footprint |  |  | Carbon Management Plan 2011 |  | https://www3.rgu.ac.uk/about/sustainability
This sustainability and environmental policy of Robert Gordon University,initiates the process whereby the University recognises the holistic nature of sustainable development across the full range of its activities, and that sustainability encompasses the interdependence of economic, social and environmental streams. In this process the university aims to reduce its impact on the environment.An updated policy is at present pending final approval from our Executive team. |  |  | Sustainability & Environmental Policy |  | https://you.rgu.ac.uk/org/Sustainability/Documents/Environmental%20And%20Sustainability%20Policy%20Mar%2018%202014.pdf
2(d) Does the body have a climate change plan or strategy?
If yes, provide the name of any such document and details of where a copy of the document may be obtained or accessed.
We are developing a Climate Change Action Plan in 2018/19 to replace the Carbon Management Plan.
2(e) Does the body have any plans or strategies covering the following areas that include climate change?
Provide the name of any such document and the timeframe covered.
Topic area | Name of document | Link |  | Time period covered |  | Comments
Adaptation
Business travel | Staff Travel Policy and Procedures |  |  | ongoing
Staff Travel | Staff Travel Policy and Procedures |  |  | ongoing
Energy efficiency | Space Heating Policy | https://www3.rgu.ac.uk/about/planning-and-policy/policies/policies |  | ongoing
Fleet transport | Staff Travel Policy and Procedures |  |  | ongoing
Information and communication technology | RGU IT Strategy |  |  | ongoing
Renewable energy | under review as part of new Climate Change Action Plan
Sustainable/renewable heat | under review as part of new Climate Change Action Plan
Waste management | under review as part of new Climate Change Action Plan
Water and sewerage | under review as part of new Climate Change Action Plan
Land Use
Other (state topic area covered in comments)
2(f) What are the body’s top 5 priorities for climate change governance, management and strategy for the year ahead?
Provide a brief summary of the body’s areas and activities of focus for the year ahead.
1.Develop implementation of a University wide Energy Reduction Program. The objective of the Energy Reduction Program is to reduce RGU’s energy consumption by 15%( per annum) by 2023 against the 2015-16 baseline (as reported in the annual Estates Management Record (EMR) 2. Continue development of the water reduction strategy implemented in 2018.3. Review and update University's sustainability strategy and develop a Climate Change Action Plan.4. Implement employee carbon reduction awareness campaign.5. Review and update University's Green Travel Plan.
2(g) Has the body used the Climate Change Assessment Tool(a) or equivalent tool to self-assess its capability / performance?
If yes, please provide details of the key findings and resultant action taken.
Yes, we have carried out a self assessment using the Climate Change Assessment Tool.The main finding was the need to develop a new Climate Change Action Plan to include clear governance and strategies along with consideration of climate risks and adaptions. This is currently being actioned.
2(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to governance, management and strategy.

## Sheet4
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
PART 3: EMISSIONS, TARGETS AND PROJECTS
3a Emissions from start of the year which the body uses as a baseline (for its carbon footprint) to the end of the report year
Complete the following table using the greenhouse gas emissions total for the body calculated on the same basis as for its annual carbon footprint /management reporting or, where applicable, its sustainability reporting. Include greenhouse gas emissions from the body's estate and operations (a) (measured and reported in accordance with Scopes 1 & 2 and, to the extent applicable, selected Scope 3 of the Greenhouse Gas Protocol (b)). If data is not available for any year from the start of the year which is used as a baseline to the end of the report year, provide an explanation in the comments column. (a) No information is required on the effect of the body on emissions which are not from its estate and operations.
Reference Year |  |  | Year | Scope1 | [7 empty] | Scope2 |  |  |  | Scope3 | [5 empty] | Total | [8 empty] | Units | [5 empty] | Comments
Baseline carbon footprint |  |  | 2010/11 | 3824 | [7 empty] | 5271 |  |  |  | 583 | [5 empty] | 9678 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July
Year 1 carbon footprint |  |  | 2011/12 | 3344 | [7 empty] | 5207 |  |  |  | 542 | [5 empty] | 9093 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July
Year 2 carbon footprint |  |  | 2012/13 | 4479 | [7 empty] | 5283 |  |  |  | 578 | [5 empty] | 10340 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July
Year 3 carbon footprint |  |  | 2013/14 | 4004 | [7 empty] | 6761 |  |  |  | 780 | [5 empty] | 11545 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July24,000m2 new build space added to portfolio
Year 4 carbon footprint |  |  | 2014/15 | 3307 | [7 empty] | 5928 |  |  |  | 573 | [5 empty] | 9808 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July8000m2 of new build space added to portfolio. Disposal of 11,600m2 property in the city centre July 2014
Year 5 carbon footprint |  |  | 2015/16 | 3579 | [7 empty] | 4751 |  |  |  | 594 | [5 empty] | 8924 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July
Year 6 carbon footprint |  |  | 2016/17 | 2892.7 | [7 empty] | 3768.8 |  |  |  | 473.5 | [5 empty] | 7135 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July6215.5 m2 in city centre was disposed of in June 2016
Year 7 carbon footprint |  |  | 2017/18 | 3150.1 | [7 empty] | 3022.9 |  |  |  | 342.7 | [5 empty] | 6515.7 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July
Year 8 carbon footprint |  |  | 2018/19 | 2912.1 | [7 empty] | 2720.8 |  |  |  | 319.6 | [5 empty] | 5952.5 | [8 empty] | tCO2e | [5 empty] | 1st August - 31st July
3b Breakdown of emission sources
Complete the following table with the breakdown of emission sources from the body's most recent carbon footprint (greenhouse gas inventory); this should correspond to the last entry in the table in 3(a) above. Use the 'Comments' column to explain what is included within each category of emission source entered in the first column. If, for any such category of emission source, it is not possible to provide a simple emission factor(a) leave the field for the emission factor blank and provide the total emissions for that category of emission source in the 'Emissions' column.
Total |  | Comments – reason for difference between Q3a & 3b. | [10 empty] | Emission source | [10 empty] | Scope |  |  |  |  | Consumption data | [6 empty] | Units |  |  |  |  | Emission factor |  |  | Units |  |  |  | Emissions (tCO2e) |  | Comments
5952.52 | [12 empty] | Natural Gas | [10 empty] | Scope 1 |  |  |  |  | 15565218 | [6 empty] | kWh |  |  |  |  | 0.18385 |  |  | kg CO2e/kWh |  |  |  | 2861.67
[13 empty] | Grid Electricity (generation) | [10 empty] | Scope 2 |  |  |  |  | 10644865 | [6 empty] | kWh |  |  |  |  | 0.2556 |  |  | kg CO2e/kWh |  |  |  | 2720.83
[13 empty] | Grid Electricity (transmission &amp; distribution losses) | [10 empty] | Scope 3 |  |  |  |  | 10644865 | [6 empty] | kWh |  |  |  |  | 0.0217 |  |  | kg CO2e/kWh |  |  |  | 230.99
[13 empty] | Fuel Oil | [10 empty] | Scope 1 |  |  |  |  | 11.73 | [6 empty] | tonnes |  |  |  |  | 3217.82 |  |  | kg CO2e/tonne |  |  |  | 37.75
[13 empty] | Diesel (average biofuel blend) | [10 empty] | Scope 1 |  |  |  |  | 4527.49 | [6 empty] | litres |  |  |  |  | 2.5941 |  |  | kg CO2e/litre |  |  |  | 11.74
[13 empty] | Petrol (average biofuel blend) | [10 empty] | Scope 1 |  |  |  |  | 418.95 | [6 empty] | litres |  |  |  |  | 2.209 |  |  | kg CO2e/litre |  |  |  | 0.93
[13 empty] | Average Car - Unknown Fuel | [10 empty] | Scope 3 |  |  |  |  | 114826 | [6 empty] | miles |  |  |  |  | 0.28502 |  |  | kg CO2e/mile |  |  |  | 32.73
[13 empty] | Water - Supply | [10 empty] | Scope 3 |  |  |  |  | 44756 | [6 empty] | m3 |  |  |  |  | 0.344 |  |  | kg CO2e/m3 |  |  |  | 15.4
[13 empty] | Water - Treatment | [10 empty] | Scope 3 |  |  |  |  | 42186 | [6 empty] | m3 |  |  |  |  | 0.708 |  |  | kg CO2e/m3 |  |  |  | 29.87
[13 empty] | Refuse Commercial &amp; Industrial to Landfill | [10 empty] | Scope 3 |  |  |  |  | 25.44 | [6 empty] | tonnes |  |  |  |  | 99.7592 |  |  | kg CO2e/tonne |  |  |  | 2.54
[13 empty] | Mixed recycling | [10 empty] | Scope 3 |  |  |  |  | 371.19 | [6 empty] | tonnes |  |  |  |  | 21.354 |  |  | kg CO2e/tonne |  |  |  | 7.93
[13 empty] | Organic Food &amp; Drink Composting | [10 empty] | Scope 3 |  |  |  |  | 13.96 | [6 empty] | tonnes |  |  |  |  | 10.2039 |  |  | kg CO2e/tonne |  |  |  | 0.14
3c Generation, consumption and export of renewable energy
Provide a summary of the body's annual renewable generation (if any), and whether it is used or exported by the body.
|  |  | Renewable Electricity | [10 empty] | Renewable Heat
Technology |  |  | Total consumed by the organisation (kWh) |  | Total exported (kWh) | [8 empty] | Total consumed by the organisation (kWh) |  |  |  | Total exported (kWh) | [6 empty] | Comments
Solar PV |  |  | 28894 |  | 0
Ground Source Heat Pump | [13 empty] | 635300 |  |  |  | 0
3d Targets
List all of the body's targets of relevance to its climate change duties. Where applicable, overall carbon targets and any separate land use, energy efficiency, waste, water, information and communication technology, transport, travel and heat targets should be included.
Name of Target |  |  | Type of Target | Target | [7 empty] | Units | [7 empty] | Boundary/scope of Target | [10 empty] | Progress against target | [5 empty] | Year used as baseline |  |  | Baseline figure |  | Units of baseline |  |  | Target completion year |  | Comments
Carbon reduction |  |  | percentage | 6375.18 | [7 empty] | total % reduction | [7 empty] | All emissions | [10 empty] | 6347.43 | [5 empty] | 2008/09 |  |  | 15179 |  | tCO2e |  |  | 2020/21 |  | Target will be achieved ahead of prediction
3e Estimated total annual carbon savings from all projects implemented by the body in the report year
Total | [8 empty] | Emissions Source | [13 empty] | Total estimated annual carbon savings (tCO2e) | [9 empty] | Comments
141.5 | [8 empty] | Electricity | [13 empty] | 140 | [9 empty] | Variable speed drives to fans and motors. Refurbishment of AHU including the installation of direct drive EC fans.
Natural gas
Other heating fuels
Waste
[9 empty] | Water and sewerage | [13 empty] | 1.5 | [9 empty] | Waterless urinal installations
Business Travel
Fleet transport
Other (specify in comments)
3f Detail the top 10 carbon reduction projects to be carried out by the body in the report year
Provide details of the 10 projects which are estimated to achieve the highest carbon savings during report year.
Project name |  |  | Funding source |  |  | First full year of CO2e savings |  | Are these savings figures estimated or actual? | [6 empty] | Capital cost (£) |  |  |  | Operational cost (£/annum) | [7 empty] | Project lifetime (years) |  |  | Primary fuel/emission source saved | [7 empty] | Estimated carbon savings per year (tCO2e/annum) |  |  |  |  | Estimated costs savings (£/annum) |  |  | Behaviour Change |  |  | Comments
ABS AHU upgrade |  |  | Salix |  |  | 2019/20 |  | Estimated | [6 empty] | 244200 |  |  |  | 55699 | [7 empty] | 15 |  |  | Grid Electricity | [7 empty] | 158.61 |  |  |  |  | 45385
Car park lighting to LED |  |  | Salix |  |  | 2019/20 |  | Estimated | [6 empty] | 84000 |  |  |  | 12150 | [7 empty] | 20 |  |  | Grid Electricity | [7 empty] | 51.9 |  |  |  |  | 14850
Installation of variable speed drives to pumps and fan motors |  |  | Salix |  |  | 2019/20 |  | Estimated | [6 empty] | 65816 |  |  |  | 35516 | [7 empty] | 11 |  |  | Grid Electricity | [7 empty] | 87.17 |  |  |  |  | 24940
Waterless urinals installation |  |  | Self |  |  | 2018/19 |  | Estimated | [6 empty] | 3829 |  |  |  | 2850 | [7 empty] | 20 |  |  | Water - Supply | [7 empty] | 1.5 |  |  |  |  | 6149
3g Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the report year
If the emissions increased or decreased due to any such factor in the report year, provide an estimate of the amount and direction.
Total | [9 empty] | Emissions source | [10 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
-10.64 | [9 empty] | Estate changes | [10 empty] | 10.64 | [10 empty] | Decrease | [6 empty] | Transfer of ownership of Schoolhill building
Service provision
Staff numbers
Other (specify in comments)
3h Anticipated annual carbon savings from all projects implemented by the body in the year ahead
Total | [10 empty] | Source | [14 empty] | Saving | [7 empty] | Comments
285 | [10 empty] | Electricity | [14 empty] | 160 | [7 empty] | Upgrading of AHU at Ishbel Gordon building
[11 empty] | Natural gas | [14 empty] | 104 | [7 empty] | Replacement boilers at Grays School of Art & RGU Sport
Other heating fuels
Waste
[11 empty] | Water and sewerage | [14 empty] | 1 | [7 empty] | Expansion of the waterless urinal programme
Business Travel
Fleet transport
[11 empty] | Other (specify in comments) | [14 empty] | 20 | [7 empty] | Mcquay Chiller replacement at Ishbel Gordon Building
3i Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the year ahead
If the emissions are likely to increase or decrease due to any such factor in the year ahead, provide an estimate of the amount and direction.
Total | [6 empty] | Emissions source | [9 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
0 | [6 empty] | Estate changes
Service provision
Staff numbers
Other (specify in comments)
3j Total carbon reduction project savings since the start of the year which the body uses as a baseline for its carbon footprint
If the body has data available, estimate the total emissions savings made from projects since the start of that year ("the baseline year").
Total | Comments
6347.43
3k Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to its emissions, targets and projects.

## Sheet5
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
PART 4: ADAPTATION
4(a) Has the body assessed current and future climate-related risks?
If yes, provide a reference or link to any such risk assessment(s).
The University has considered the impact of climate change with specific regards to flooding or extreme weather damage as part of its Business Continuity program.First line response to these types of incidents is managed via the current Business Continuity Protocols – Emergency Response Team, Business Recovery Team, etc. as detailed in the following section.Where an incident occurs the BRT is raised utilising the appropriate resource from both professional support services and those departments/users affected – thus ensuring the most effective and efficient program to bring the business back on line as quickly as possible.
4(b) What arrangements does the body have in place to manage climate-related risks?
Provide details of any climate change adaptation strategies, action plans and risk management procedures, and any climate change adaptation policies which apply across the body.
The University currently has an Emergency Response (ERT) which is the first line of support in the event of an emergency. Further support in the event of an incident becoming prolonged/dangerous to the normal operation of the university is provided by the Business Recovery Team (BRT) who are supported by the Business Recovery Support Team (BRST). Each department has responsibility for the development and publication of Business Continuity plans in the event of a partial or total loss of assets.
4(c) What action has the body taken to adapt to climate change?
Include details of work to increase awareness of the need to adapt to climate change and build the capacity of staff and stakeholders to assess risk and implement action.
In all new builds and refurbishment projects mechanical and electrical services installations and upgrades are designed to maximise natural ventilation, only incorporating enhanced mechanical cooling where strictly necessary. Actively developing concepts for major renewable initiatives including Solar PV and Hydrogen fuel cell
4(d) Where applicable, what progress has the body made in delivering the policies and proposals referenced N1, N2, N3, B1, B2, B3, S1, S2 and S3 in the Scottish Climate Change Adaptation Programme(a) ("the Programme")?
If the body is listed in the Programme as a body responsible for the delivery of one or more policies and proposals under the objectives N1, N2, N3, B1,B2, B3, S1, S2 and S3, provide details of the progress made by the body in delivering each policy or proposal in the report year. If it is not responsible for delivering any policy or proposal under a particular objective enter “N/A” in the ‘Delivery progress made’ column for that objective. (a) This refers to the programme for adaptation to climate change laid before the Scottish Parliament under section 53(2) of the Climate Change (Scotland) Act 2009 (asp 12) which currently has effect. The most recent one is entitled “Climate Ready Scotland: Scottish Climate Change Adaptation Programme” dated May 2014.
Objective | Objective reference | Theme | Policy / Proposal reference | Delivery progress made | Comments
Understand the effects of climate change and their impacts on the natural environment. | N1 | Natural Environment |  | Reviewing as part of new Climate Change Action Plan.
Support a healthy and diverse natural environment with capacity to adapt. | N2 | Natural Environment |  | Any current redevelop or upgrades to existing buildings consider the impact on the natural environment of the campus and surrounding area is minimised. Regular surveys are conducted to assess the condition of the trees on campus.
Sustain and enhance the benefits, goods and services that the natural environment provides. | N3 | Natural Environment |  | Sympathetic development of network of woodland paths and graded walking routes to encourage both staff and students to exercise whilst enjoying the natural environment.
Understand the effects of climate change and their impacts on buildings and infrastructure networks. | B1 | Buildings and infrastructure networks |  | All new development and refurbishments maximise the use of natural ventilation, renewable resources and relevant low carbon emission solutions.
Provide the knowledge, skills and tools to manage climate change impacts on buildings and infrastructure. | B2 | Buildings and infrastructure networks |  | Developing employee awareness campaign to educate and engage staff and students on climate change and sustainable practice.
Increase the resilience of buildings and infrastructure networks to sustain and enhance the benefits and services provided. | B3 | Buildings and infrastructure networks |  | Reviewing as part of new Climate Change Action Plan.
Understand the effects of climate change and their impacts on people, homes and communities. | S1 | Society |  | Reviewing as part of new Climate Change Action Plan.
Increase the awareness of the impacts of climate change to enable people to adapt to future extreme weather events. | S2 | Society |  | Reviewing as part of new Climate Change Action Plan.
Support our health services and emergency responders to enable them to respond effectively to the increased pressures associated with a changing climate. | S3 | Society |  | Reviewing as part of new Climate Change Action Plan.
4(e) What arrangements does the body have in place to review current and future climate risks?
Provide details of arrangements to review current and future climate risks, for example, what timescales are in place to review the climate change risk assessments referred to in Question 4(a) and adaptation strategies, action plans, procedures and policies in Question 4(b).
A full review will be undertaken as part of the development of a new Climate Change Action Plan.
4(f) What arrangements does the body have in place to monitor and evaluate the impact of the adaptation actions?
Please provide details of monitoring and evaluation criteria and adaptation indicators used to assess the effectiveness of actions detailed under Question 4(c) and Question 4(d).
A full review will be undertaken as part of the development of a new Climate Change Action Plan. It is anticipated that arrangements to monitor and evaluate the impact of adaptation actions will be reviewed through the annual reporting process at management and governance levels including reporting against EMR statistics.
4(g) What are the body’s top 5 priorities for the year ahead in relation to climate change adaptation?
Provide a summary of the areas and activities of focus for the year ahead.
To investigate current and future climate risks.To define those risks and the impacts. To incorporate climate change risks into our reviewed and revised business continuity plans.
4(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to adaptation.

## Sheet6
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
PART 5: PROCUREMENT
5(a) How have procurement policies contributed to compliance with climate change duties?
Provide information relating to how the procurement policies of the body have contributed to its compliance with climate changes duties.
The University has a Sustainable Procurement Policy which was updated in March 2014 and is part of the overall Procurement Policy 2014-2019.Sustainable procurement is now most commonly defined as a process whereby organisations meet their needs for goods, services and works in a way that achieves value for money on awhole life basis in terms of generating benefits not only to the organisation, but also to society and the economy, whilst minimising damage to the environment.Sustainability in procurement covers (but is not limited to): Social issues -labour rights, discrimination and equality Environmental issues -carbon emissions, waste management, pollution and technology Ethical and economic issues -fraud, corruption and briberyThis policy intends that the University will carry out the procurement of goods and services in such a manner as to minimise any negative environmental, ethical, economic or socialimpact, and to promote positive impacts, throughout the whole life cycle and supply chain of the goods or services.2 Policy statementsThe University aims to ensure that its procurement activities meet these diverse demands through:-1. Complying with all relevant legislation, including ensuring its agreements remain fully EU compliant.2. Advertising all relevant University tender opportunities so as to maximise participation and increase supplier diversity (the University has signed up to the Scottish GovernmentSuppliers Charter).3. Ensuring that, at the qualification stage of procurements, all bidders for major University contracts have appropriate sustainability and equality policies.4. Making maximum use of Government and APUC (Advanced Procurement for Universities and Colleges) contracts which have been subjected to advanced sustainable procurement;these more rigorously address issues relating to social responsibility and ethical, economic and environmental impacts.5. Ensuring the application, to all University contracts, of the University's General Conditions of Contract which specifically address unlawful discrimination in terms of the Equality Act.6. Supporting APUC in their current proposals to adopt a Code of Conduct for all current and potential suppliers; this would seek commitment from organisations and their supply chains toa set of social, ethical and environmental compliances.7. Implementing the Scottish Government's Sustainable Procurement Action Plan and carrying out periodic self-assessments against the related Flexible Framework which enablesmeasurement against various aspects of sustainable procurement.8. Reviewing the quantity and weighting of sustainability criteria included in pre-qualification and tender documents.9. Training and development of awareness for relevant staff with regard to this policy and otherwise promoting best practice in sustainable procurement.10. Liaising with other bodies such as APUC and Scottish Procurement to improve sustainable procurement processes and procedures.
5(b) How has procurement activity contributed to compliance with climate change duties?
Provide information relating to how procurement activity by the body has contributed to its compliance with climate changes duties.
policy statement 4 of the above refers - namely that Procurement encourage;- Making maximum use of Government and APUC (Advanced Procurement for Universities and Colleges) contracts which have been subjected to advanced sustainable procurement; these more rigorously address issues relating to social responsibility and ethical, economic and environmental impacts.
5(c) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to procurement.

## Sheet7
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
PART 6: VALIDATION AND DECLARATION
6(a) Internal validation process
Briefly describe the body’s internal validation process, if any, of the data or information contained within this report.
Data is compiled by Estates staff and reviewed by the Director of Estates and Property Services (Convenor of the Sustainability Advisory Group) and the Vice Principal Corporate Operations
6(b) Peer validation process
Briefly describe the body’s peer validation process, if any, of the data or information contained within this report.
Data is compiled by Estates staff at operational level, reviewed at executive level within the department by the Deputy Director: Estates and Property Servcies, and the Director of Estates and Property Services
6(c) External validation process
Briefly describe the body’s external validation process, if any, of the data or information contained within this report.
Data contained within the report is either self determined or provided through the Estates EMR
6(d) No validation process
If any information provided in this report has not been validated, identify the information in question and explain why it has not been validated.
N/A
6e - Declaration
I confirm that the information in this report is accurate and provides a fair representation of the body’s performance in relation to climate change.
Name | Role in the body | Date
Bill Somerville | Director: Estates and Property Services | 2019-11-26

## Sheet8
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
RECOMMENDED – WIDER INFLUENCE
Q1 Historic Emissions (Local Authorities only)
Please indicate emission amounts and unit of measurement (e.g. tCO2e) and years. Please provide information on the following components using data from the links provided below. Please use (1) as the default unless targets and actions relate to (2). (1) UK local and regional CO2 emissions: subset dataset (emissions within the scope of influence of local authorities): (2) UK local and regional CO2 emissions: full dataset:
Select the default target dataset
Table 1a - Subset
Sector |  |  |  | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  | 2012 |  |  |  |  | 2013 |  |  | 2014 |  |  | 2015 |  |  | 2016 |  |  | 2017 |  |  |  | 2018 |  |  | Units |  |  |  |  | Comments
Table 1b - Full
Sector |  |  |  |  | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  | 2012 |  |  |  |  | 2013 |  |  | 2014 |  |  | 2015 |  |  |  | 2016 |  | 2017 |  |  |  | 2018 |  |  | Units |  |  |  | Comments
Q2a – Targets
Please detail your wider influence targets
Sector | Description | [17 empty] | Type of Target (units) | [10 empty] | Baseline value |  |  |  |  | Start year | [5 empty] | Target saving |  |  |  | Target / End Year | Saving in latest year measured |  |  | Latest Year Measured |  | Comments
Q2b) Does the Organisation have an overall mission statement, strategies, plans or policies outlining ambition to influence emissions beyond your corporate boundaries? If so, please detail this in the box below.
Q3) Policies and Actions to Reduce Emissions
Sector |  |  | Start year for policy / action imple - mentation |  |  | Year that the policy / action will be fully imple - mented |  |  | Annual CO2 saving once fully imple - mented (tCO2) |  |  | Latest Year measured |  |  |  |  | Saving in latest year measured (tCO2) |  |  |  |  | Status | [5 empty] | Metric / indicators for monitoring progress | [9 empty] | Delivery Role |  |  |  | During project / policy design and implementation, has ISM or an equivalent behaviour change tool been used? |  |  |  |  | Please give further details of this behaviour change activity |  |  | Value of Investment (£) |  |  | Ongoing Costs (£/ year) | Primary Funding Source for Implementation of Policy / Action |  | Comments
Transport |  |  | 2016 |  |  | 2016 |  |  | 4.5 |  |  | 2019 |  |  |  |  | 4.87 |  |  |  |  | Complete | [5 empty] | Miles covered using Electric/Hydrogen fuelled vehicles Vs traditional (diesel) mode of transport. | [9 empty] | Direct | [8 empty] | RGU:Union GoGreen operated a free bike hire service for staff and students. Participants provided details of their journeys, alongside their alternative mode of transport, with logs kept on frequency and distance travelled. Total miles travelled calculated to be 8640 miles for the year (total of 18 bikes - 480 miles per person). | [8 empty] | The scheme receives a portion of our Go Green budget, but this covers its day-to-day operation and is not necessarily earmarked for promotion or awareness.
Waste |  |  | 2017 |  |  | 2017 |  |  | 2.7 |  |  | 2019 |  |  |  |  | 2 |  |  |  |  | In Implementation | [5 empty] | quantity of recycled paper used 7.2% of our total | [9 empty] | Direct | [8 empty] | emissions include reduction in electricity, water, landfill and wood by the use of Cocoon and Cyclus recycled paper within our operational and printing and graphics department. Use of "vegware"(fully compostible) utensils and cups etc in catering service
Please provide any detail on data sources or limitations relating to the information provided in Table 3
Q4) Partnership Working, Communication and Capacity Building. Please detail your Climate Change Partnership, Communication or Capacity Building Initiatives below.
Key Action Type |  | Description | [15 empty] | Action | [6 empty] | Organisation's project role | [8 empty] | Lead Organisation (if not reporting organisation) | [8 empty] | Private Partners |  |  |  |  | Public Partners |  |  |  | 3rd Sector Partners |  |  | Outputs |  | Comments
Partnership Working |  | Working with local transport network Get About which promotes and facilitates sustainable travel. | [15 empty] | Partnership working of climate change or sustainability | [6 empty] | Participant | [8 empty] | Get About | [8 empty] | The James Hutton Institute |  |  |  |  | NHS Grampian, North East College, Aberdeenshire Council, Aberdeen City Council, University of Aberdeen, |  |  |  | Energy Saving Trust, Nestrans |  |  | Improved sustainable transport links. Increase in cycling, car share, public transport use etc
Partnership Working |  | Powering Aberdeen | [15 empty] | Partnership working of climate change or sustainability | [6 empty] | Supporting | [8 empty] | Aberdeen City Council | [8 empty] | various |  |  |  |  | various |  |  |  | various |  |  | Aberdeen Sustainable Energy Action Plan |  | Works to reduce emissions and locate alternative energysupplies. Involves many aspects of city development andmanagement. Adopts a holistic approachwhen identifying projects that fulfil this agenda.
Communications |  | Promoting Earth Hour to staff and students | [15 empty] | Awareness Raising | [6 empty] | Supporting | [8 empty] | WWF | [22 empty] | Raise awareness of climate change within the university.
Other |  | Working with EAUC | [15 empty] | Skills/Capacity Building | [6 empty] | Supporting | [8 empty] | EAUC | [22 empty] | EAUC provide us with training, information and support to drive sustainability within our university.
Other |  | Working with catering contractor to reduce waste and increase recycling and composting and introduction of" vegware" utensils and crockery to improve recycling/composting and minimise waste to landfill | [15 empty] | Behaviour Change | [6 empty] | Supporting | [8 empty] | Aramark | [20 empty] | Reduced food waste and packaging waste. |  | Sell reusable hot cups across campus to cut down on Paper cups going to landfiill. Biodegradable packaging across outlets which are recycled through food waste route

## Sheet9
Public Sector Climate Change Duties 2019 Summary Report: Robert Gordon University
OTHER NOTABLE REPORTABLE ACTIVITY
Q5) Please detail key actions relating to Food and Drink, Biodiversity, Water, Procurement and Resource Use in the table below.
| Key Action Type | Key Action Description | Organisation's Project Role | Impacts | Comments
Q6) Please use the text box below to detail further climate change related activity that is not noted elsewhere within this reporting template