## Sheet1
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
TABLE OF CONTENTS
Required
PART 1: PROFILE OF REPORTING BODY
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
PART 3: EMISSIONS, TARGETS AND PROJECTS
PART 4: ADAPTATION
PART 5: PROCUREMENT
PART 6: VALIDATION AND DECLARATION
Recommended Reporting: Reporting on Wider Influence
RECOMMENDED – WIDER INFLUENCE
OTHER NOTABLE REPORTABLE ACTIVITY

## Sheet2
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
PART 1: PROFILE OF REPORTING BODY
1(a) Name of reporting body
sportscotland
1(b) Type of body
Others
1(c) Highest number of full-time equivalent staff in the body during the report year
350
1(d) Metrics used by the body
Specify the metrics that the body uses to assess its performance in relation to climate change and sustainability.
Metric |  |  | Unit | Value | Comments
Floor area |  |  | m2 | 24503 | For the 6 main sites reported
1(e) Overall budget of the body
Specify approximate £/annum for the report year.
Budget | Budget Comments
61000000
1(f) Report year
Specify the report year.
Report Year |  | Report Year Comments
Financial (April to March)
1(g) Context
Provide a summary of the body’s nature and functions that are relevant to climate change reporting.
sportscotland operates out of 14 sites, however this report reflects only the 6 key operational sites. The other sites are small offices within partner organisations that area leased.

## Sheet3
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
2(a) How is climate change governed in the body?
Provide a summary of the roles performed by the body’s governance bodies and members in relation to climate change. If any of the body’s activities in relation to climate change sit outside its own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify these activities and the governance arrangements.
Responsibility for matters which could impact climate change rests with the Chief Operating Officer, with day to day management delegated to the Operations Manager. With recent restructuring due to staff changes. The Operations Manager is in the process of reviewing the Carbon Management Plan, producing the Sustainability Report, drafting a Climate Change Strategy and Action Plan. These documents report to the Estate Group which reports to the new Chief Operating Officer who is part of the SMT. This structure may evolve once the review of operations is completed.
2(b) How is climate change action managed and embedded by the body?
Provide a summary of how decision-making in relation to climate change action by the body is managed and how responsibility is allocated to the body’s senior staff, departmental heads etc. If any such decision-making sits outside the body’s own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify how this is managed and how responsibility is allocated outside the body (JPEG, PNG, PDF, DOC)
Annual data is recorded across the estate and analysed by the Operations Manager and transferred into a Sustainability Report. This report will be passed to The Estate group and submitted to SMT. A review of current and past practises is taking place by the new Operations Manager and a Climate Strategy will be passed to SMT for approval. Local green groups have been started at some sites and a green champion network is currently being established with volunteers to take action at sites. A future review of transport is planned in January to go along side a Sustainable Transport Policy.
2(c) Does the body have specific climate change mitigation and adaptation objectives in its corporate plan or similar document?
Provide a brief summary of objectives if they exist.
Objective |  |  | Doc Name |  | Doc Link
2(d) Does the body have a climate change plan or strategy?
If yes, provide the name of any such document and details of where a copy of the document may be obtained or accessed.
Yes, the organisation has a Carbon Management Plan, which forms part of the organisation's Publication Scheme and is available on the sportscotland web-site and is due to be reviewed
2(e) Does the body have any plans or strategies covering the following areas that include climate change?
Provide the name of any such document and the timeframe covered.
Topic area | Name of document | Link |  | Time period covered |  | Comments
Adaptation
Business travel | Travel and Expenses Policy |  |  | Current
Staff Travel | Travel and Expenses Policy |  |  | Current
Energy efficiency | Carbon Management Plan |  |  | 2016-20
Fleet transport | Travel and Expenses Policy |  |  | Current
Information and communication technology
Renewable energy
Sustainable/renewable heat
Waste management
Water and sewerage
Land Use
Other (state topic area covered in comments)
2(f) What are the body’s top 5 priorities for climate change governance, management and strategy for the year ahead?
Provide a brief summary of the body’s areas and activities of focus for the year ahead.
1. Improved internal reporting and monitoring of energy usage 2. Review Carbon Management Plan 3. Ongoing use of Biomass boiler at Glenmore Lodge 4. Review of tree planting options at Inverclyde 5. Review of car fleet and associated emissions
2(g) Has the body used the Climate Change Assessment Tool(a) or equivalent tool to self-assess its capability / performance?
If yes, please provide details of the key findings and resultant action taken.
No
2(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to governance, management and strategy.
A new Operations Manager has been recruited and has H&S Estate operations and Climate Change in their remit.

## Sheet4
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
PART 3: EMISSIONS, TARGETS AND PROJECTS
3a Emissions from start of the year which the body uses as a baseline (for its carbon footprint) to the end of the report year
Complete the following table using the greenhouse gas emissions total for the body calculated on the same basis as for its annual carbon footprint /management reporting or, where applicable, its sustainability reporting. Include greenhouse gas emissions from the body's estate and operations (a) (measured and reported in accordance with Scopes 1 & 2 and, to the extent applicable, selected Scope 3 of the Greenhouse Gas Protocol (b)). If data is not available for any year from the start of the year which is used as a baseline to the end of the report year, provide an explanation in the comments column. (a) No information is required on the effect of the body on emissions which are not from its estate and operations.
Reference Year |  |  | Year | Scope1 | [7 empty] | Scope2 |  |  |  | Scope3 | [5 empty] | Total | [8 empty] | Units | [5 empty] | Comments
Baseline carbon footprint |  |  | 2015/16 | 309.15 | [7 empty] | 787.28 |  |  |  | 531.38 | [5 empty] | 1627.81 | [8 empty] | tCO2e
Year 1 carbon footprint |  |  | 2016/17 | 79 | [7 empty] | 724.2 |  |  |  | 900.51 | [5 empty] | 1703.71 | [8 empty] | tCO2e
Year 2 carbon footprint |  |  | 2017/18 | 76.12 | [7 empty] | 970.66 |  |  |  | 542.18 | [5 empty] | 1588.96 | [8 empty] | tCO2e
Year 3 carbon footprint |  |  | 2018/19 | 92 | [7 empty] | 882 |  |  |  | 619 | [5 empty] | 1593 | [8 empty] | tCO2e | [5 empty] | 16tCO2e was generated from Water supply and treatment. 35 tCO2e was generated by waste. total emissions 1644tCO2e
3b Breakdown of emission sources
Complete the following table with the breakdown of emission sources from the body's most recent carbon footprint (greenhouse gas inventory); this should correspond to the last entry in the table in 3(a) above. Use the 'Comments' column to explain what is included within each category of emission source entered in the first column. If, for any such category of emission source, it is not possible to provide a simple emission factor(a) leave the field for the emission factor blank and provide the total emissions for that category of emission source in the 'Emissions' column.
Total |  | Comments – reason for difference between Q3a & 3b. | [10 empty] | Emission source | [10 empty] | Scope |  |  |  |  | Consumption data | [6 empty] | Units |  |  |  |  | Emission factor |  |  | Units |  |  |  | Emissions (tCO2e) |  | Comments
1644.98 | [12 empty] | Natural Gas | [10 empty] | Scope 2 |  |  |  |  | 2161288 | [6 empty] | kWh |  |  |  |  | 0.18396 |  |  | kg CO2e/kWh |  |  |  | 397.59
[13 empty] | LPG | [10 empty] | Scope 1 |  |  |  |  | 42204 | [6 empty] | litres |  |  |  |  | 1.5191 |  |  | kg CO2e/litre |  |  |  | 64.11
[13 empty] | Marine Fuel Oil | [10 empty] | Scope 1 |  |  |  |  | 1709 | [6 empty] | litres |  |  |  |  | 3.1097 |  |  | kg CO2e/litre |  |  |  | 5.31
[13 empty] | Petrol (average biofuel blend) | [10 empty] | Scope 1 |  |  |  |  | 10000 | [6 empty] | litres |  |  |  |  | 2.2031 |  |  | kg CO2e/litre |  |  |  | 22.03
[13 empty] | Water - Supply | [10 empty] | Outside of Scopes |  |  |  |  | 16123 | [6 empty] | m3 |  |  |  |  | 0.344 |  |  | kg CO2e/m3 |  |  |  | 5.55
[13 empty] | Water - Treatment | [10 empty] | Outside of Scopes |  |  |  |  | 15155 | [6 empty] | m3 |  |  |  |  | 0.708 |  |  | kg CO2e/m3 |  |  |  | 10.73
[13 empty] | Grid Electricity (generation) | [10 empty] | Scope 2 |  |  |  |  | 1709758 | [6 empty] | kWh |  |  |  |  | 0.28307 |  |  | kg CO2e/kWh |  |  |  | 483.98
[13 empty] | Organic Food &amp; Drink AD | [10 empty] | Outside of Scopes |  |  |  |  | 7 | [6 empty] | tonnes |  |  |  |  | 21.3842 |  |  | kg CO2e/tonne |  |  |  | 0.15
[13 empty] | Mixed recycling | [10 empty] | Outside of Scopes |  |  |  |  | 78 | [6 empty] | tonnes |  |  |  |  | 21.3842 |  |  | kg CO2e/tonne |  |  |  | 1.67
[13 empty] | Refuse Municipal to Landfill | [10 empty] | Outside of Scopes |  |  |  |  | 56 | [6 empty] | tonnes |  |  |  |  | 586.5313 |  |  | kg CO2e/tonne |  |  |  | 32.85
[13 empty] | Glass Recycling | [10 empty] | Outside of Scopes |  |  |  |  | 2 | [6 empty] | tonnes |  |  |  |  | 21.3842 |  |  | kg CO2e/tonne |  |  |  | 0.04
[13 empty] | Rail (National rail) | [10 empty] | Scope 3 |  |  |  |  | 76679.78 | [6 empty] | passenger km |  |  |  |  | 0.04424 |  |  | kg CO2e/passenger km |  |  |  | 3.39
[13 empty] | Ferry (average passenger) | [10 empty] | Scope 3 |  |  |  |  | 7893 | [6 empty] | passenger km |  |  |  |  | 0.11287 |  |  | kg CO2e/passenger km |  |  |  | 0.89
[13 empty] | Car - diesel (Small car up to a 1.7 litres engine) | [10 empty] | Scope 3 |  |  |  |  | 637390 | [6 empty] | km |  |  |  |  | 0.14533 |  |  | kg CO2e/km |  |  |  | 92.63
[13 empty] | Long-haul flights (average passenger) | [10 empty] | Scope 3 |  |  |  |  | 1704624 | [6 empty] | passenger km |  |  |  |  | 0.21256 |  |  | kg CO2e/passenger km |  |  |  | 362.33
[13 empty] | Domestic flight (average passenger) | [10 empty] | Scope 3 |  |  |  |  | 185950.8 | [6 empty] | passenger km |  |  |  |  | 0.29832 |  |  | kg CO2e/passenger km |  |  |  | 55.47
[13 empty] | Taxi (regular) | [10 empty] | Scope 3 |  |  |  |  | 3302.4 | [6 empty] | passenger km |  |  |  |  | 0.15344 |  |  | kg CO2e/passenger km |  |  |  | 0.51
[13 empty] | Car - Hybrid (Large) | [10 empty] | Scope 3 |  |  |  |  | 16332 | [6 empty] | km |  |  |  |  | 0.16134 |  |  | kg CO2e/km |  |  |  | 2.64
[13 empty] | Car - petrol (average) | [10 empty] | Scope 3 |  |  |  |  | 259379 | [6 empty] | km |  |  |  |  | 0.18368 |  |  | kg CO2e/km |  |  |  | 47.64
[13 empty] | Biomass (Wood Pellets) | [10 empty] | Scope 1 |  |  |  |  | 9.7 | [6 empty] | tonnes |  |  |  |  | 70.4733 |  |  | kg CO2e/tonne |  |  |  | 0.68
[13 empty] | Car - diesel (Medium car from 1.7 - 2.0 litre engine) | [10 empty] | Scope 3 |  |  |  |  | 315746 | [6 empty] | km |  |  |  |  | 0.17353 |  |  | kg CO2e/km |  |  |  | 54.79
3c Generation, consumption and export of renewable energy
Provide a summary of the body's annual renewable generation (if any), and whether it is used or exported by the body.
|  |  | Renewable Electricity | [10 empty] | Renewable Heat
Technology |  |  | Total consumed by the organisation (kWh) |  | Total exported (kWh) | [8 empty] | Total consumed by the organisation (kWh) |  |  |  | Total exported (kWh) | [6 empty] | Comments
Solar PV |  |  | 5454 |  | 0
Biomass |  |  | 31080 |  | 0
3d Targets
List all of the body's targets of relevance to its climate change duties. Where applicable, overall carbon targets and any separate land use, energy efficiency, waste, water, information and communication technology, transport, travel and heat targets should be included.
Name of Target |  |  | Type of Target | Target | [7 empty] | Units | [7 empty] | Boundary/scope of Target | [10 empty] | Progress against target | [5 empty] | Year used as baseline |  |  | Baseline figure |  | Units of baseline |  |  | Target completion year |  | Comments
3e Estimated total annual carbon savings from all projects implemented by the body in the report year
Total | [8 empty] | Emissions Source | [13 empty] | Total estimated annual carbon savings (tCO2e) | [9 empty] | Comments
0 | [8 empty] | Electricity | [13 empty] | 0 | [9 empty] | Continuing use of solar panels and wind turbines
[9 empty] | Natural gas | [13 empty] | 0
[9 empty] | Other heating fuels | [13 empty] | 0
[9 empty] | Waste | [13 empty] | 0
[9 empty] | Water and sewerage | [13 empty] | 0
[9 empty] | Business Travel | [13 empty] | 0
[9 empty] | Fleet transport | [13 empty] | 0 | [9 empty] | Introduction of lower emission vehicles to car fleet
[9 empty] | Other (specify in comments) | [13 empty] | 0 | [9 empty] | N/A
3f Detail the top 10 carbon reduction projects to be carried out by the body in the report year
Provide details of the 10 projects which are estimated to achieve the highest carbon savings during report year.
Project name |  |  | Funding source |  |  | First full year of CO2e savings |  | Are these savings figures estimated or actual? | [6 empty] | Capital cost (£) |  |  |  | Operational cost (£/annum) | [7 empty] | Project lifetime (years) |  |  | Primary fuel/emission source saved | [7 empty] | Estimated carbon savings per year (tCO2e/annum) |  |  |  |  | Estimated costs savings (£/annum) |  |  | Behaviour Change |  |  | Comments
3g Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the report year
If the emissions increased or decreased due to any such factor in the report year, provide an estimate of the amount and direction.
Total | [9 empty] | Emissions source | [10 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
0 | [9 empty] | Estate changes | [21 empty] | Increase
Service provision
Staff numbers
Other (specify in comments)
3h Anticipated annual carbon savings from all projects implemented by the body in the year ahead
Total | [10 empty] | Source | [14 empty] | Saving | [7 empty] | Comments
0 | [10 empty] | Electricity
Natural gas
Other heating fuels
Waste
Water and sewerage
Business Travel
Fleet transport
Other (specify in comments)
3i Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the year ahead
If the emissions are likely to increase or decrease due to any such factor in the year ahead, provide an estimate of the amount and direction.
Total | [6 empty] | Emissions source | [9 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
0 | [6 empty] | Estate changes
Service provision
Staff numbers
Other (specify in comments)
3j Total carbon reduction project savings since the start of the year which the body uses as a baseline for its carbon footprint
If the body has data available, estimate the total emissions savings made from projects since the start of that year ("the baseline year").
Total | Comments
3k Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to its emissions, targets and projects.

## Sheet5
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
PART 4: ADAPTATION
4(a) Has the body assessed current and future climate-related risks?
If yes, provide a reference or link to any such risk assessment(s).
No
4(b) What arrangements does the body have in place to manage climate-related risks?
Provide details of any climate change adaptation strategies, action plans and risk management procedures, and any climate change adaptation policies which apply across the body.
The body has renewable technologies, including Biomass boilers, Solar Panels.The body has recently updated its car policy to limit the CO2 emissions of cars available under the scheme and has purchased an electric car
4(c) What action has the body taken to adapt to climate change?
Include details of work to increase awareness of the need to adapt to climate change and build the capacity of staff and stakeholders to assess risk and implement action.
The body has renewable technologies, including Biomass boilers, Solar Panels. The body has recently updated its car policy to limit the CO2 emissions of cars available under the scheme and has purchased an electric car
4(d) Where applicable, what progress has the body made in delivering the policies and proposals referenced N1, N2, N3, B1, B2, B3, S1, S2 and S3 in the Scottish Climate Change Adaptation Programme(a) ("the Programme")?
If the body is listed in the Programme as a body responsible for the delivery of one or more policies and proposals under the objectives N1, N2, N3, B1,B2, B3, S1, S2 and S3, provide details of the progress made by the body in delivering each policy or proposal in the report year. If it is not responsible for delivering any policy or proposal under a particular objective enter “N/A” in the ‘Delivery progress made’ column for that objective. (a) This refers to the programme for adaptation to climate change laid before the Scottish Parliament under section 53(2) of the Climate Change (Scotland) Act 2009 (asp 12) which currently has effect. The most recent one is entitled “Climate Ready Scotland: Scottish Climate Change Adaptation Programme” dated May 2014.
Objective | Objective reference | Theme | Policy / Proposal reference | Delivery progress made | Comments
Understand the effects of climate change and their impacts on the natural environment. | N1 | Natural Environment
Support a healthy and diverse natural environment with capacity to adapt. | N2 | Natural Environment
Sustain and enhance the benefits, goods and services that the natural environment provides. | N3 | Natural Environment
Understand the effects of climate change and their impacts on buildings and infrastructure networks. | B1 | Buildings and infrastructure networks
Provide the knowledge, skills and tools to manage climate change impacts on buildings and infrastructure. | B2 | Buildings and infrastructure networks
Increase the resilience of buildings and infrastructure networks to sustain and enhance the benefits and services provided. | B3 | Buildings and infrastructure networks
Understand the effects of climate change and their impacts on people, homes and communities. | S1 | Society
Increase the awareness of the impacts of climate change to enable people to adapt to future extreme weather events. | S2 | Society
Support our health services and emergency responders to enable them to respond effectively to the increased pressures associated with a changing climate. | S3 | Society
4(e) What arrangements does the body have in place to review current and future climate risks?
Provide details of arrangements to review current and future climate risks, for example, what timescales are in place to review the climate change risk assessments referred to in Question 4(a) and adaptation strategies, action plans, procedures and policies in Question 4(b).
The National Centres will give consideration during future risk identification and assessment exercises
4(f) What arrangements does the body have in place to monitor and evaluate the impact of the adaptation actions?
Please provide details of monitoring and evaluation criteria and adaptation indicators used to assess the effectiveness of actions detailed under Question 4(c) and Question 4(d).
These will be developed during any strategic considerations
4(g) What are the body’s top 5 priorities for the year ahead in relation to climate change adaptation?
Provide a summary of the areas and activities of focus for the year ahead.
1. Improved internal reporting and monitoring of energy usage 2. Installation of electronic car charging at Caledonia House 3. Ongoing use of Biomass boiler at Glenmore Lodge 4. Review of tree planting options at Inverclyde 5. Review of car fleet and associated emissions, with increased offer of electric and hybrid cars
4(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to adaptation.

## Sheet6
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
PART 5: PROCUREMENT
5(a) How have procurement policies contributed to compliance with climate change duties?
Provide information relating to how the procurement policies of the body have contributed to its compliance with climate changes duties.
Sustainability is now routinely part of procurement policies for capital investment. It is also a scoring element in the evaluation of tenders.
5(b) How has procurement activity contributed to compliance with climate change duties?
Provide information relating to how procurement activity by the body has contributed to its compliance with climate changes duties.
The inclusion of sustainability within procurement has led to greater knowledge and awareness across the organisation, in addition to leading to "cleaner" products and services, for example within the delivery of the cleaning contracts
5(c) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to procurement.

## Sheet7
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
PART 6: VALIDATION AND DECLARATION
6(a) Internal validation process
Briefly describe the body’s internal validation process, if any, of the data or information contained within this report.
The data is submitted from each of the sites to one central workbook where it is maintained and monitored by the Operations manager. It is reviewed by the Head of Finance prior to completion and submission
6(b) Peer validation process
Briefly describe the body’s peer validation process, if any, of the data or information contained within this report.
The Head of Finance reviews the environmental data and reporting prior to completion and submission.
6(c) External validation process
Briefly describe the body’s external validation process, if any, of the data or information contained within this report.
n/a
6(d) No validation process
If any information provided in this report has not been validated, identify the information in question and explain why it has not been validated.
6e - Declaration
I confirm that the information in this report is accurate and provides a fair representation of the body’s performance in relation to climate change.
Name | Role in the body | Date
Yvette Brough | Operations Manager | 2019-11-29

## Sheet8
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
RECOMMENDED – WIDER INFLUENCE
Q1 Historic Emissions (Local Authorities only)
Please indicate emission amounts and unit of measurement (e.g. tCO2e) and years. Please provide information on the following components using data from the links provided below. Please use (1) as the default unless targets and actions relate to (2). (1) UK local and regional CO2 emissions: subset dataset (emissions within the scope of influence of local authorities): (2) UK local and regional CO2 emissions: full dataset:
Select the default target dataset
Table 1a - Subset
Sector |  |  |  | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  | 2012 |  |  |  |  | 2013 |  |  | 2014 |  |  | 2015 |  |  | 2016 |  |  | 2017 |  |  |  | 2018 |  |  | Units |  |  |  |  | Comments
[23 empty] | 2204 |  |  | 2107 |  |  | 1628 |  |  | 1703 |  |  |  | 1589 |  |  | tCO2e
Table 1b - Full
Sector |  |  |  |  | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  | 2012 |  |  |  |  | 2013 |  |  | 2014 |  |  | 2015 |  |  |  | 2016 |  | 2017 |  |  |  | 2018 |  |  | Units |  |  |  | Comments
Q2a – Targets
Please detail your wider influence targets
Sector | Description | [17 empty] | Type of Target (units) | [10 empty] | Baseline value |  |  |  |  | Start year | [5 empty] | Target saving |  |  |  | Target / End Year | Saving in latest year measured |  |  | Latest Year Measured |  | Comments
Q2b) Does the Organisation have an overall mission statement, strategies, plans or policies outlining ambition to influence emissions beyond your corporate boundaries? If so, please detail this in the box below.
Q3) Policies and Actions to Reduce Emissions
Sector |  |  | Start year for policy / action imple - mentation |  |  | Year that the policy / action will be fully imple - mented |  |  | Annual CO2 saving once fully imple - mented (tCO2) |  |  | Latest Year measured |  |  |  |  | Saving in latest year measured (tCO2) |  |  |  |  | Status | [5 empty] | Metric / indicators for monitoring progress | [9 empty] | Delivery Role |  |  |  | During project / policy design and implementation, has ISM or an equivalent behaviour change tool been used? |  |  |  |  | Please give further details of this behaviour change activity |  |  | Value of Investment (£) |  |  | Ongoing Costs (£/ year) | Primary Funding Source for Implementation of Policy / Action |  | Comments
Please provide any detail on data sources or limitations relating to the information provided in Table 3
Q4) Partnership Working, Communication and Capacity Building. Please detail your Climate Change Partnership, Communication or Capacity Building Initiatives below.
Key Action Type |  | Description | [15 empty] | Action | [6 empty] | Organisation's project role | [8 empty] | Lead Organisation (if not reporting organisation) | [8 empty] | Private Partners |  |  |  |  | Public Partners |  |  |  | 3rd Sector Partners |  |  | Outputs |  | Comments

## Sheet9
Public Sector Climate Change Duties 2019 Summary Report: sportscotland
OTHER NOTABLE REPORTABLE ACTIVITY
Q5) Please detail key actions relating to Food and Drink, Biodiversity, Water, Procurement and Resource Use in the table below.
| Key Action Type | Key Action Description | Organisation's Project Role | Impacts | Comments
Q6) Please use the text box below to detail further climate change related activity that is not noted elsewhere within this reporting template