## Sheet1
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
TABLE OF CONTENTS
Required
PART 1: PROFILE OF REPORTING BODY
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
PART 3: EMISSIONS, TARGETS AND PROJECTS
PART 4: ADAPTATION
PART 5: PROCUREMENT
PART 6: VALIDATION AND DECLARATION
Recommended Reporting: Reporting on Wider Influence
RECOMMENDED – WIDER INFLUENCE
OTHER NOTABLE REPORTABLE ACTIVITY

## Sheet2
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
PART 1: PROFILE OF REPORTING BODY
1(a) Name of reporting body
The National Galleries of Scotland
1(b) Type of body
Others
1(c) Highest number of full-time equivalent staff in the body during the report year
317
1(d) Metrics used by the body
Specify the metrics that the body uses to assess its performance in relation to climate change and sustainability.
Metric |  |  | Unit | Value | Comments
Floor area |  |  | m2 | 27582.56
1(e) Overall budget of the body
Specify approximate £/annum for the report year.
Budget | Budget Comments
21349000
1(f) Report year
Specify the report year.
Report Year |  | Report Year Comments
Financial (April to March)
1(g) Context
Provide a summary of the body’s nature and functions that are relevant to climate change reporting.
The National Galleries of Scotland cares for, develops, researches and displays the national collection of Scottish and international art. With a lively and innovative programme of activities, exhibitions, education and publications, it aims to engage, inform and inspire the broadest possible public. The estate is primarily historic buildings based in Edinburgh comprising of the Scottish National Gallery, the Scottish Portrait Gallery and the Scottish National Gallery of Modern Art. There are also storage facilities in Granton, Dalmeny and Newbridge. NGS has approximately 317 staff and 2.5 million local to international visitors through its doors each year.

## Sheet3
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
PART 2: GOVERNANCE, MANAGEMENT AND STRATEGY
2(a) How is climate change governed in the body?
Provide a summary of the roles performed by the body’s governance bodies and members in relation to climate change. If any of the body’s activities in relation to climate change sit outside its own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify these activities and the governance arrangements.
Climate Change mitigation and adaption managed through the Estates Operations Manager who develops and manages our environment policy and procedures. The NGS Sustainability Officer develops and implements environmental policy and actions across the organisation also producing an annual Environmental Sustainability Report, updating on our performance in key areas. The Senior Management Team (SMT) develop the strategic direction for the organisation, including climate change related issues via quarterly reports on key performance indicators.
2(b) How is climate change action managed and embedded by the body?
Provide a summary of how decision-making in relation to climate change action by the body is managed and how responsibility is allocated to the body’s senior staff, departmental heads etc. If any such decision-making sits outside the body’s own governance arrangements (in relation to, for example, land use, adaptation, transport, business travel, waste, information and communication technology, procurement or behaviour change), identify how this is managed and how responsibility is allocated outside the body (JPEG, PNG, PDF, DOC)
National Galleries Scotland has a dedicated Sustainability Officer that sits within the Estates Department but provides support across the organisation in meeting its obligations under the Climate Change (Scotland) Act 2009. This post reports directly to the Estates Operations Manager, who reports to the Head of Operations who in turn reports to our Chief Operating Officer. The Estates team manages a dedicated capital budget, elements of which is set aside for delivering carbon reduction related projects. The overall carbon management program is overseen by the Estates Operations Manager, with the support of the Sustainability Officer and Facility Managers National Galleries Scotland has a corporate target to reduce its operational GHG emissions across its estate by 42% by 2020 from 2008 levels. A new Carbon Management Plan and Environmental Management Plan are currently have been approved by Senior Management and will be launched late 2018. A network of Green Champions across our organisation has been started during the reporting year with the remit to promote better sustainability and influence at a department and site level.
2(c) Does the body have specific climate change mitigation and adaptation objectives in its corporate plan or similar document?
Provide a brief summary of objectives if they exist.
Objective |  |  | Doc Name |  | Doc Link
The National Galleries of Scotland will aim to reduce Co2 emissions from its operations by 42% by the end of 2020 from 2008 levels. |  |  | Corporate Plan 2016-2020 - Key Performance Indicator |  | https://www.nationalgalleries.org/sites/default/files/features/pdfs/corporate-plan-2016-20-summary-for-website-1_0.pdf
2(d) Does the body have a climate change plan or strategy?
If yes, provide the name of any such document and details of where a copy of the document may be obtained or accessed.
NGS previously developed a Carbon Management Plan for the period 2010-2015 which we updated yearly. Overall carbon targets set out in this plan were exceeded. A Carbon Management Plan and Environmental Management Plan has been created for 2018-2022, it is currently being approved by SMT and will be launched by the end of 2018. This plan will set out a new intermittent carbon reduction target for over the next five years.
2(e) Does the body have any plans or strategies covering the following areas that include climate change?
Provide the name of any such document and the timeframe covered.
Topic area | Name of document | Link |  | Time period covered |  | Comments
Adaptation | Environmental Management Plan | Internal |  | 2018-22 |  | Currently being approved
Business travel | Carbon Management Plan Expenses Policy | Internal |  | 2018-22 |  | Our expenses policy also covers sustainable business travel
Staff Travel | NGS Sustainable Travel Action Plan | Internal |  | 2017-18 |  | Updated Sustainable travel action plan with actions to encourage the adoption of sustainable travel methods by staff
Energy efficiency | Carbon Management Plan | Internal |  | 2018-22 |  | Currently being approved
Fleet transport | Business Transport Review | Internal |  | 2017 - on-going |  | Study undertaken by Energy Saving Trust in 2017 on behalf of NGS on our current business fleet and an action plan to reduce emissions from this source
Information and communication technology | Carbon Management Plan | Internal |  | 2018-22 |  | Carbon reduction projects incorporating reduction in emissions from ICT included in new plan being approved
Renewable energy
Sustainable/renewable heat
Waste management | Environmental Management Plan | Internal |  | 2018-22 |  | EMP currently being approved
Water and sewerage | Environmental Management Plan | Internal |  | 2018-22 |  | EMP currently being approved
Land Use | Environmental Management Plan | Internal |  | 2018-22 |  | EMP currently being approved
Other (state topic area covered in comments)
2(f) What are the body’s top 5 priorities for climate change governance, management and strategy for the year ahead?
Provide a brief summary of the body’s areas and activities of focus for the year ahead.
1) Carbon Management Plan to be launched and implemented 2018/19 2) Environmental Management Plan to be launched and implemented 2018/19 3) To provide an Environmental Sustainability Report for 2018-19 4) Implement carbon reduction and staff engagement projects around the estate to reduce consumptions and improve energy efficiency 5) To review how Climate Change is embedded in wider policy and strategy of our organisation
2(g) Has the body used the Climate Change Assessment Tool(a) or equivalent tool to self-assess its capability / performance?
If yes, please provide details of the key findings and resultant action taken.
As previous reported, NGS used the CCAT in October 2015, with a focus needed on adaptation, behaviour and procurement. These areas are still a focus for NGS. We will look to undertake this exercise again in 2018/19 to gauge if any improvements have been made over the last three years.
2(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to governance, management and strategy.
We actively monitor our energy use and we embed energy efficiency during the initial design process for both planned replacement and capital projects, informing the use of energy efficient technologies within available funding. An example of this will be our new National Collections Facility which is being designed with sustainability as a key design element. Currently a new NGS strategy is being implemented. Sustainability is a identified as a key driver for the organisation within this.

## Sheet4
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
PART 3: EMISSIONS, TARGETS AND PROJECTS
3a Emissions from start of the year which the body uses as a baseline (for its carbon footprint) to the end of the report year
Complete the following table using the greenhouse gas emissions total for the body calculated on the same basis as for its annual carbon footprint /management reporting or, where applicable, its sustainability reporting. Include greenhouse gas emissions from the body's estate and operations (a) (measured and reported in accordance with Scopes 1 & 2 and, to the extent applicable, selected Scope 3 of the Greenhouse Gas Protocol (b)). If data is not available for any year from the start of the year which is used as a baseline to the end of the report year, provide an explanation in the comments column. (a) No information is required on the effect of the body on emissions which are not from its estate and operations.
Reference Year |  |  | Year | Scope1 | [7 empty] | Scope2 |  |  |  | Scope3 | [5 empty] | Total | [8 empty] | Units | [5 empty] | Comments
Baseline carbon footprint |  |  | 2008/09 | 1030 | [7 empty] | 2476 |  |  |  | 240 | [5 empty] | 3746 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 1 carbon footprint |  |  | 2009/10 | 824 | [7 empty] | 2170 |  |  |  | 240 | [5 empty] | 3234 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 2 carbon footprint |  |  | 2010/11 | 849 | [7 empty] | 2260 |  |  |  | 209 | [5 empty] | 3318 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 3 carbon footprint |  |  | 2011/12 | 861 | [7 empty] | 2196 |  |  |  | 211 | [5 empty] | 3268 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 4 carbon footprint |  |  | 2012/13 | 997 | [7 empty] | 2080 |  |  |  | 189 | [5 empty] | 3266 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 5 carbon footprint |  |  | 2013/14 | 876 | [7 empty] | 1802 |  |  |  | 177 | [5 empty] | 2855 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 6 carbon footprint |  |  | 2014/15 | 821 | [7 empty] | 1849 |  |  |  | 181 | [5 empty] | 2851 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 7 carbon footprint |  |  | 2015/16 | 787 | [7 empty] | 1580 |  |  |  | 153 | [5 empty] | 2520 | [8 empty] | tCO2e | [5 empty] | Does not include business travel
Year 8 carbon footprint |  |  | 2016/17 | 765 | [7 empty] | 1344 |  |  |  | 162 | [5 empty] | 2271 | [8 empty] | tCO2e | [5 empty] | First year to include business travel
Year 9 carbon footprint |  |  | 2017/18 | 826 | [7 empty] | 1074 |  |  |  | 146 | [5 empty] | 2046 | [8 empty] | tCO2e | [5 empty] | Includes business travel
3b Breakdown of emission sources
Complete the following table with the breakdown of emission sources from the body's most recent carbon footprint (greenhouse gas inventory); this should correspond to the last entry in the table in 3(a) above. Use the 'Comments' column to explain what is included within each category of emission source entered in the first column. If, for any such category of emission source, it is not possible to provide a simple emission factor(a) leave the field for the emission factor blank and provide the total emissions for that category of emission source in the 'Emissions' column.
Total |  | Comments – reason for difference between Q3a & 3b. | [10 empty] | Emission source | [10 empty] | Scope |  |  |  |  | Consumption data | [6 empty] | Units |  |  |  |  | Emission factor |  |  | Units |  |  |  | Emissions (tCO2e) |  | Comments
2124.5 | [12 empty] | Grid Electricity (generation) | [10 empty] | Scope 2 |  |  |  |  | 3222521 | [6 empty] | kWh |  |  |  |  | 0.35156 |  |  | kg CO2e/kWh |  |  |  | 1132.91
[13 empty] | Grid Electricity (transmission &amp; distribution losses) | [10 empty] | Scope 3 |  |  |  |  | 3222521 | [6 empty] | kWh |  |  |  |  | 0.03287 |  |  | kg CO2e/kWh |  |  |  | 105.92
[13 empty] | Natural Gas | [10 empty] | Scope 1 |  |  |  |  | 4397348 | [6 empty] | kWh |  |  |  |  | 0.18416 |  |  | kg CO2e/kWh |  |  |  | 809.83
[13 empty] | Water - Supply | [10 empty] | Scope 3 |  |  |  |  | 17096 | [6 empty] | m3 |  |  |  |  | 0.344 |  |  | kg CO2e/m3 |  |  |  | 5.88
[13 empty] | Water - Treatment | [10 empty] | Scope 3 |  |  |  |  | 16241 | [6 empty] | m3 |  |  |  |  | 0.708 |  |  | kg CO2e/m3 |  |  |  | 11.5
[13 empty] | Diesel (100% mineral diesel) | [10 empty] | Scope 1 |  |  |  |  | 6089 | [6 empty] | litres |  |  |  |  | 2.6719 |  |  | kg CO2e/litre |  |  |  | 16.27
[13 empty] | Petrol (average biofuel blend) | [10 empty] | Scope 1 |  |  |  |  | 529 | [6 empty] | litres |  |  |  |  | 2.1984 |  |  | kg CO2e/litre |  |  |  | 1.16
[13 empty] | Rail (National rail) | [10 empty] | Scope 3 |  |  |  |  | 100161 | [6 empty] | passenger km |  |  |  |  | 0.04678 |  |  | kg CO2e/passenger km |  |  |  | 4.69
[13 empty] | Domestic flight (average passenger) | [10 empty] | Scope 3 |  |  |  |  | 43274 | [6 empty] | passenger km |  |  |  |  | 0.26744 |  |  | kg CO2e/passenger km |  |  |  | 11.57
[13 empty] | International flights (Economy Class) | [10 empty] | Scope 3 |  |  |  |  | 156701 | [6 empty] | passenger km |  |  |  |  | 0.13801 |  |  | kg CO2e/passenger km |  |  |  | 21.63
[13 empty] | Mixed recycling | [10 empty] | Scope 3 |  |  |  |  | 100 | [6 empty] | tonnes |  |  |  |  | 21.76 |  |  | kg CO2e/tonne |  |  |  | 2.18
[13 empty] | Organic Food &amp; Drink AD | [10 empty] | Scope 3 |  |  |  |  | 44 | [6 empty] | tonnes |  |  |  |  | 21.76 |  |  | kg CO2e/tonne |  |  |  | 0.96
3c Generation, consumption and export of renewable energy
Provide a summary of the body's annual renewable generation (if any), and whether it is used or exported by the body.
|  |  | Renewable Electricity | [10 empty] | Renewable Heat
Technology |  |  | Total consumed by the organisation (kWh) |  | Total exported (kWh) | [8 empty] | Total consumed by the organisation (kWh) |  |  |  | Total exported (kWh) | [6 empty] | Comments
Other
3d Targets
List all of the body's targets of relevance to its climate change duties. Where applicable, overall carbon targets and any separate land use, energy efficiency, waste, water, information and communication technology, transport, travel and heat targets should be included.
Name of Target |  |  | Type of Target | Target | [7 empty] | Units | [7 empty] | Boundary/scope of Target | [10 empty] | Progress against target | [5 empty] | Year used as baseline |  |  | Baseline figure |  | Units of baseline |  |  | Target completion year |  | Comments
Carbon Reduction |  |  | percentage | 42 | [7 empty] | total % reduction | [7 empty] | All emissions | [10 empty] | 46.03 | [5 empty] | 2008/09 |  |  | 3745 |  | tCO2e |  |  | 2019/20 |  | Target achieved 2 years early. Large energy efficiency projects completed and decarbonisation of the grid are contributing factors. New target will be included in new CMP currently being approved.
3e Estimated total annual carbon savings from all projects implemented by the body in the report year
Total | [8 empty] | Emissions Source | [13 empty] | Total estimated annual carbon savings (tCO2e) | [9 empty] | Comments
257.37 | [8 empty] | Electricity | [13 empty] | 257.37 | [9 empty] | Carbon reduction from previous year. Projects e.g. LED lighting upgrades
[9 empty] | Natural gas | [13 empty] | 0
[9 empty] | Other heating fuels | [13 empty] | 0 | [9 empty] | N/A
[9 empty] | Waste | [13 empty] | 0
[9 empty] | Water and sewerage | [13 empty] | 0
[9 empty] | Business Travel | [13 empty] | 0
[9 empty] | Fleet transport | [13 empty] | 0
[9 empty] | Other (specify in comments) | [13 empty] | 0 | [9 empty] | N/A
3f Detail the top 10 carbon reduction projects to be carried out by the body in the report year
Provide details of the 10 projects which are estimated to achieve the highest carbon savings during report year.
Project name |  |  | Funding source |  |  | First full year of CO2e savings |  | Are these savings figures estimated or actual? | [6 empty] | Capital cost (£) |  |  |  | Operational cost (£/annum) | [7 empty] | Project lifetime (years) |  |  | Primary fuel/emission source saved | [7 empty] | Estimated carbon savings per year (tCO2e/annum) |  |  |  |  | Estimated costs savings (£/annum) |  |  | Behaviour Change |  |  | Comments
Endotherm Fuel Additive |  |  | Internal |  |  | 2018/19 |  | Estimated | [6 empty] | 10080 | [14 empty] | Natural Gas | [7 empty] | 5 |  |  |  |  | 8000
Fine tuning of Building Management System |  |  | Internal |  |  | 2018/19 |  | Estimated | [6 empty] | 20000 | [14 empty] | Grid Electricity | [7 empty] | 23 |  |  |  |  | 4852 | [5 empty] | Ongoing program of upgrading BMS system across estate-Estimated as 50% of total electricity savings in our gallery buildings for the reporting year
Secondary Glazing Modern 2 |  |  | Internal |  |  | 2018/19 |  | Estimated | [6 empty] | 30000 | [14 empty] | Natural Gas | [7 empty] | 14 |  |  |  |  | 1500
Smart TRV's |  |  | Internal |  |  | 2018/19 |  | Estimated | [6 empty] | 11640 | [14 empty] | Natural Gas | [7 empty] | 117 |  |  |  |  | 13000 |  |  | Work with IT to engage with staff on using Thin Clients and general carbon savings from IT equipment used
Thin Client PCs |  |  | Internal |  |  | 2018/19 |  | Estimated | [6 empty] | 49800 | [14 empty] | Grid Electricity | [7 empty] | 31 |  |  |  |  | 13000
3g Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the report year
If the emissions increased or decreased due to any such factor in the report year, provide an estimate of the amount and direction.
Total | [9 empty] | Emissions source | [10 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
0 | [9 empty] | Estate changes
Service provision
Staff numbers
Other (specify in comments)
3h Anticipated annual carbon savings from all projects implemented by the body in the year ahead
Total | [10 empty] | Source | [14 empty] | Saving | [7 empty] | Comments
190 | [10 empty] | Electricity | [14 empty] | 54 | [7 empty] | Estimate savings value from 'Top Carbon Projects' above. More projects included in CMP waiting for approval - business cases to confirm carbon savings.
[11 empty] | Natural gas | [14 empty] | 136 | [7 empty] | Estimate savings value from 'Top Carbon Projects' above. More projects included in CMP waiting for approval - business cases to confirm carbon savings.
[11 empty] | Other heating fuels | [14 empty] | 0
[11 empty] | Waste | [14 empty] | 0
[11 empty] | Water and sewerage | [14 empty] | 0
[11 empty] | Business Travel | [14 empty] | 0
[11 empty] | Fleet transport | [14 empty] | 0
[11 empty] | Other (specify in comments) | [14 empty] | 0 | [7 empty] | N/A
3i Estimated decrease or increase in the body's emissions attributed to factors (not reported elsewhere in this form) in the year ahead
If the emissions are likely to increase or decrease due to any such factor in the year ahead, provide an estimate of the amount and direction.
Total | [6 empty] | Emissions source | [9 empty] | Total estimated annual emissions (tCO2e) | [10 empty] | Increase or decrease in emissions | [6 empty] | Comments
0 | [6 empty] | Estate changes
Service provision
Staff numbers
Other (specify in comments)
3j Total carbon reduction project savings since the start of the year which the body uses as a baseline for its carbon footprint
If the body has data available, estimate the total emissions savings made from projects since the start of that year ("the baseline year").
Total | Comments
1700
3k Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to its emissions, targets and projects.
We report our corporate Emissions every year through our annual Environmental Sustainability Report which is available to the public on the NGS website. Our Carbon Management Plan will be launched in 2018/19 and will be used as an active document, annually reviewed and used to outline projects and priorities for the year ahead. A NGS Green Team has been formed to help spread sustainability awareness throughout the organisation. Comprising of enthusiastic individuals from all different estates and departments the Green Team will be working on projects to help promote sustainable behaviour throughout the galleries in the coming year. We are developing a sustainability communications strategy to enhance awareness of climate change issues within the organisation.

## Sheet5
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
PART 4: ADAPTATION
4(a) Has the body assessed current and future climate-related risks?
If yes, provide a reference or link to any such risk assessment(s).
The National Galleries of Scotland has been assessing several areas of climate-related risks in the last year. However we do not have one overarching document but is something that we intend to address in 2018/19. We have a risk register which is reviewed quarterly by senior management. This document includes assessment of risks from flooding, fire and damage to our buildings from extreme weather conditions. The threat from more intensive rainfall has caused us to produce a report on the condition of our downpipes from the roofs with specific emphases on internal pipes that had no overflow provision. Water leaks are a clear threat to our art collection. We are currently producing a Stonework Management Plan for the Scottish National Portrait Gallery. With more frequent and more sever storms this building has been found to be at greater risk due to the decorative stone pinnacles and finials. Our Conservation Department are aware of the increased risk from pests due to a warmer climate and have a produced an Integrated Pest Management Plan which takes account of this. Due to changes in the climate and the need to be more sustainable we have reviewed the environmental conditions that we store and display our collection. This is recorded in our Collection Care Policy.
4(b) What arrangements does the body have in place to manage climate-related risks?
Provide details of any climate change adaptation strategies, action plans and risk management procedures, and any climate change adaptation policies which apply across the body.
We carry out risk assessments for our collection and this includes environmental conditions. We have a Collection Care Policy which is administered by our Conservation Department and Estates Department. We carry out regular surveys of our buildings and act on any recommendations. We have a programme of building maintenance which covers all aspects of the buildings including the services within. We have in-house knowledge from experienced staff ensuring that the properties are well maintained and use specialist contractors to carry out the required maintenance. We have an Integrated Pest Management Plan that monitors any pest activity. We have a Disaster Contingency Plan and Business Continuity Plan in place to manage eventualities such as flooding or storm damage. The Risk Register, including those two risks, is managed by the Head of Planning & Performance and reviewed quarterly by the Senior Management Team/Audit & Risk Committee. There are two relevant risks listed in the NGS Risk Register: - Failure to invest adequately in estates (controls include: Adequate response to Quinquennial Review; Increase investment in fire and flood protection) -Security/safety of the collection, estate and people compromised due to inadequate investment in training and resources (controls include: Continual monitoring & evaluation of environmental conditions/BMS training)
4(c) What action has the body taken to adapt to climate change?
Include details of work to increase awareness of the need to adapt to climate change and build the capacity of staff and stakeholders to assess risk and implement action.
We have set up a Green team within NGS who will champion in raising awareness to staff on environmental and climate change issues. Engagement workshops with members of staff raise awareness on subjects such as waste, energy, travel.
4(d) Where applicable, what progress has the body made in delivering the policies and proposals referenced N1, N2, N3, B1, B2, B3, S1, S2 and S3 in the Scottish Climate Change Adaptation Programme(a) ("the Programme")?
If the body is listed in the Programme as a body responsible for the delivery of one or more policies and proposals under the objectives N1, N2, N3, B1,B2, B3, S1, S2 and S3, provide details of the progress made by the body in delivering each policy or proposal in the report year. If it is not responsible for delivering any policy or proposal under a particular objective enter “N/A” in the ‘Delivery progress made’ column for that objective. (a) This refers to the programme for adaptation to climate change laid before the Scottish Parliament under section 53(2) of the Climate Change (Scotland) Act 2009 (asp 12) which currently has effect. The most recent one is entitled “Climate Ready Scotland: Scottish Climate Change Adaptation Programme” dated May 2014.
Objective | Objective reference | Theme | Policy / Proposal reference | Delivery progress made | Comments
Understand the effects of climate change and their impacts on the natural environment. | N1 | Natural Environment | N1-1 | We monitor our resource use and how this relates to carbon emissions. NGS have demonstrated their understanding and support in reducing our effect on climate change by delivering a 42% Co2 reduction since 2008 and are developing a new target to further reduce our impact on the natural environment. | NGS are not listed as a delivery agency but have made some progress in this area
Support a healthy and diverse natural environment with capacity to adapt. | N2 | Natural Environment | N2-2 | Our Green spaces are managed to encourage bio-diversity which has a mix of parkland, wild grassland and native wooded areas. We also encourage native species of bats and birds to nest on the grounds. | NGS are not listed as a delivery agency but have made some progress in this area
Sustain and enhance the benefits, goods and services that the natural environment provides. | N3 | Natural Environment
Understand the effects of climate change and their impacts on buildings and infrastructure networks. | B1 | Buildings and infrastructure networks
Provide the knowledge, skills and tools to manage climate change impacts on buildings and infrastructure. | B2 | Buildings and infrastructure networks
Increase the resilience of buildings and infrastructure networks to sustain and enhance the benefits and services provided. | B3 | Buildings and infrastructure networks
Understand the effects of climate change and their impacts on people, homes and communities. | S1 | Society
Increase the awareness of the impacts of climate change to enable people to adapt to future extreme weather events. | S2 | Society
Support our health services and emergency responders to enable them to respond effectively to the increased pressures associated with a changing climate. | S3 | Society
4(e) What arrangements does the body have in place to review current and future climate risks?
Provide details of arrangements to review current and future climate risks, for example, what timescales are in place to review the climate change risk assessments referred to in Question 4(a) and adaptation strategies, action plans, procedures and policies in Question 4(b).
Quinquennial surveys of our properties are carried out every five years which assesses and mitigates against long term weather impacts on our buildings. This has just been done in 2018 and will highlight priorities for the next 5 years. All assessments and documentation are reviewed and altered should there be changes in the estate, degree of risk, new management arrangements and any incidents that were previously not covered.
4(f) What arrangements does the body have in place to monitor and evaluate the impact of the adaptation actions?
Please provide details of monitoring and evaluation criteria and adaptation indicators used to assess the effectiveness of actions detailed under Question 4(c) and Question 4(d).
Relevant management plans and our risk registered is updated to include any changes in our estate, risks or management structure.
4(g) What are the body’s top 5 priorities for the year ahead in relation to climate change adaptation?
Provide a summary of the areas and activities of focus for the year ahead.
1. Review outputs of quinquennial survey and create action plan of priorities. 2. Address the risk of severe wind on our decorative external stonework of our Portrait Gallery. 3. Engage with Edinburgh Adapts and Adaptation Scotland to create Adaptation Action Plan. 4. To adapt our environmental building controls to provide sustainable conditions for our collection. 5. To increase peoples awareness of Climate Change Adaptation within our wider sustainability communication programme.
4(h) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to adaptation.

## Sheet6
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
PART 5: PROCUREMENT
5(a) How have procurement policies contributed to compliance with climate change duties?
Provide information relating to how the procurement policies of the body have contributed to its compliance with climate changes duties.
NGS follow best practice in managing our procurement processes. Sustainability is referred to in the NGS Corporate Plan which states NGS is committed to ensuring that effective and robust procurement practices are embedded in the organisation in order to achieve best value for public funds, sustainable outcomes and to ensure that NGS undertakes fair, competitive and transparent procurement. Our New Procurement Strategy 2016-2019 has sustainability objectives at its heart. The strategy supports our corporate plan for 2016-20, specifically our aim ‘To develop a sustainable and efficient business model to support our objectives and ensure long-term viability’, and underpins NGS’ Procurement Policy. NGS’ procurement methodologies support our commitment to economic, environmental and social sustainability All documents also refer to the Procurement Journey which also considers sustainability as part of the procurement process. NGS has a Carbon Management Plan and Environmental Management Plan both of which refer to procurement. We also produce an annual Environmental Sustainability Report which is available to the public via our website and issued with the annual accounts. NGS currently draws on expertise from Central Government Procurement Shared Services and participates in the Procurement Cluster Group.
5(b) How has procurement activity contributed to compliance with climate change duties?
Provide information relating to how procurement activity by the body has contributed to its compliance with climate changes duties.
Sustainable Procurement is one of the seven key priorities in Our Procurement Strategy 2016-19; this supports our commitment to economic, environmental and social sustainability. NGS are signatories to the supplier charter which gives businesses access to public contracts. A framework for supported business would also be used whenever possible, to increase community benefits. Our cafes run on the ethos of ‘Scottish – Seasonal – Sustainable’; using local suppliers to source their food and Life Cycle Assessment (LCA) carried out on any large purchasing decisions to help decrease in the carbon footprint of their supply chain. This contributed to The Scottish Café & Restaurant at the National Gallery being ‘Commended’ in the 2017 Scottish Environment Business Awards (VIBES). Our IT equipment is Energy Star certified which ensures it meets stringent environmental and energy efficiency standards. Our office paper is EU-ecolabel certified which means it meets stringent criteria which take the whole product life cycle into account - from the extraction of the raw materials, to production, packaging and transport, right through to use and then the recycling bin. A standard part of the ESPD (European Standard Procurement Document) is to ask questions of all potential suppliers about their environmental policies. We also consider the whole life cycle when carrying out procurement.
5(c) Supporting information and best practice
Provide any other relevant supporting information and any examples of best practice by the body in relation to procurement.

## Sheet7
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
PART 6: VALIDATION AND DECLARATION
6(a) Internal validation process
Briefly describe the body’s internal validation process, if any, of the data or information contained within this report.
The data in this report is validated internally by the Estates Dept who are responsible for monitoring and gathering the data required for carbon emissions reporting. The data compiled by the Estates Dept is checked and verified by the Estates Operations Manager. The content of the report will then be reviewed by the Director-General prior to submission. Also the report will be reviewed by the Senior Management Team to ensure awareness and embedding into wider policy and strategy. The overall carbon data is approved by NGS Audit Committee through the annual Environmental Sustainability Report.
6(b) Peer validation process
Briefly describe the body’s peer validation process, if any, of the data or information contained within this report.
Nor peer validation process used but would be open to working with other organisations.
6(c) External validation process
Briefly describe the body’s external validation process, if any, of the data or information contained within this report.
No external validation process used.
6(d) No validation process
If any information provided in this report has not been validated, identify the information in question and explain why it has not been validated.
6e - Declaration
I confirm that the information in this report is accurate and provides a fair representation of the body’s performance in relation to climate change.
Name | Role in the body | Date
Gillian Gibson | Sustainability Officer | 2018-11-21

## Sheet8
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
RECOMMENDED – WIDER INFLUENCE
Q1 Historic Emissions (Local Authorities only)
Please indicate emission amounts and unit of measurement (e.g. tCO2e) and years. Please provide information on the following components using data from the links provided below. Please use (1) as the default unless targets and actions relate to (2). (1) UK local and regional CO2 emissions: subset dataset (emissions within the scope of influence of local authorities): (2) UK local and regional CO2 emissions: full dataset:
Select the default target dataset
Table 1a - Subset
Sector |  |  |  | 2006 |  |  | 2007 |  |  | 2008 |  |  | 2009 |  | 2010 |  |  |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  | 2014 |  |  | 2015 |  |  |  | 2016 |  |  | Units |  |  |  |  | Comments
Table 1b - Full
Sector |  |  |  |  | 2006 |  |  | 2007 |  |  | 2008 |  |  | 2009 |  | 2010 |  |  |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  |  | 2014 |  | 2015 |  |  |  | 2016 |  |  | Units |  |  |  | Comments
Q2a – Targets
Please detail your wider influence targets
Sector | Description | [17 empty] | Type of Target (units) | [10 empty] | Baseline value |  |  |  |  | Start year | [5 empty] | Target saving |  |  |  | Target / End Year | Saving in latest year measured |  |  | Latest Year Measured |  | Comments
Q2b) Does the Organisation have an overall mission statement, strategies, plans or policies outlining ambition to influence emissions beyond your corporate boundaries? If so, please detail this in the box below.
Q3) Policies and Actions to Reduce Emissions
Sector |  |  | Start year for policy / action imple - mentation |  |  | Year that the policy / action will be fully imple - mented |  |  | Annual CO2 saving once fully imple - mented (tCO2) |  |  | Latest Year measured |  |  |  |  | Saving in latest year measured (tCO2) |  |  |  |  | Status | [5 empty] | Metric / indicators for monitoring progress | [9 empty] | Delivery Role |  |  |  | During project / policy design and implementation, has ISM or an equivalent behaviour change tool been used? |  |  |  |  | Please give further details of this behaviour change activity |  |  | Value of Investment (£) |  |  | Ongoing Costs (£/ year) | Primary Funding Source for Implementation of Policy / Action |  | Comments
Please provide any detail on data sources or limitations relating to the information provided in Table 3
Q4) Partnership Working, Communication and Capacity Building. Please detail your Climate Change Partnership, Communication or Capacity Building Initiatives below.
Key Action Type |  | Description | [15 empty] | Action | [6 empty] | Organisation's project role | [8 empty] | Lead Organisation (if not reporting organisation) | [8 empty] | Private Partners |  |  |  |  | Public Partners |  |  |  | 3rd Sector Partners |  |  | Outputs |  | Comments

## Sheet9
Public Sector Climate Change Duties 2018 Summary Report: The National Galleries of Scotland
OTHER NOTABLE REPORTABLE ACTIVITY
Q5) Please detail key actions relating to Food and Drink, Biodiversity, Water, Procurement and Resource Use in the table below.
| Key Action Type | Key Action Description | Organisation's Project Role | Impacts | Comments
| Food & Drink | Cafe at the Gallery of Modern Art has a kitchen garden which produces fresh vegetables, fruits and herbs that are used in the menu. This garden consists of an orchard, raised beds, fruit patches, composting area and an insect hotel. | Participant | Local sourcing of ingredients - reducing carbon footprint Engagement with visitors on food sources and earth to plate concept.
| Water | NGS signed up to be visible on the 'Refill' app which shows people where they are able to refill their water bottles for free. This is avaialble at all three sites | Lead | Encouraging reduction in single use plastic water bottles
| Biodiversity | The surrounding grounds of The Gallery of Modern Art have 16 bird boxes to encourage more nesting birds. Along with this we have erected 6 bat boxes to encourage more bat activity. The woodlands around The Gallery of Modern Art buildings are managed to encourage more insect activity with fallen tree retention in some areas. Leaves from the trees are used onsite for composting. | Lead | Encouraging and support local biodiversity to improve
| Resource Use | A ‘Chuck the Cup’ campaign was run to encourage people to use their own reusable cups. | Participant | Encouraging reduction in single use cups. | Partnered with 2050 Climate Group
Q6) Please use the text box below to detail further climate change related activity that is not noted elsewhere within this reporting template